## heet1_QEF1631_OG38_T5-28-2-7_SC
Sample Report
Data File: | QEF1631_OG38_T5-28-2-7_SC |  |  | Tune Report Date: |  | Tune report not found
Method: | Known_IPLs_Marine_11_14_2018_Known_IPLs_Marine_11_14_2018 |  |  | Acquisition Date: |  | 2018-08-01 03:30
| Known_IPLs_Marine_11_14_2018 |  |  | Cali File Date:
Cali File: | Known_IPLs_Marine_11_14_2018.calx |  |  | Operator ID: |  | Thermo
Sample ID: | 1 |  |  | Instrument ID: |  | QEFocus
Diln Factor: | 1 |  |  | Vial Number: |  | RD1
Comments:
m/z 653.681 | [6 empty] | Composite:
ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 653.681 |  | N/A
m/z 777.551 | [6 empty] | Composite:
MGDG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
2.57 | m/z 777.551 |  | N/A |  |  |  | 0.00
m/z 549.363 | [6 empty] | Composite:
MGDG-19:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
2.79 | m/z 549.363 |  | N/A |  |  |  | 0.00
m/z 1703.371 | [6 empty] | Composite:
HPH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
2.9 | m/z 1703.371 |  | N/A |  |  |  | 0.00
m/z 1491.399 | [6 empty] | Composite:
Gly-PDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1491.399 |  | N/A
m/z 775.535 | [6 empty] | Composite:
MGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.2 | m/z 775.535 | 70748 | N/A |  |  |  | N/A
m/z 772.593 | [6 empty] | Composite:
MGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.593 |  | N/A
m/z 1455.305 | [6 empty] | Composite:
Gly-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1455.305 |  | N/A
m/z 771.504 | [6 empty] | Composite:
MGDG-36:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.27 | m/z 771.504 | 189734 | N/A |  |  |  | N/A
m/z 1463.368 | [6 empty] | Composite:
Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1463.368 |  | N/A
m/z 769.489 | [6 empty] | Composite:
MGDG-36:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.3 | m/z 769.489 |  | N/A |  |  |  | 0.00
m/z 718.546 | [6 empty] | Composite:
MGDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.38 | m/z 718.546 | 482443363 | N/A |  |  |  | N/A
m/z 784.499 | [6 empty] | Composite:
MGDG-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.35 | m/z 784.499 | 12930031 | N/A |  |  |  | N/A
m/z 1459.336 | [6 empty] | Composite:
Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1459.336 |  | N/A
m/z 1461.352 | [6 empty] | Composite:
Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1461.352 |  | N/A
m/z 692.531 | [6 empty] | Composite:
MGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.54 | m/z 692.531 | 61831328 | N/A |  |  |  | N/A
m/z 1477.347 | [6 empty] | Composite:
Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1477.347 |  | N/A
m/z 747.504 | [6 empty] | Composite:
MGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 747.504 |  | N/A
m/z 779.567 | [6 empty] | Composite:
MGDG-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.46 | m/z 779.567 | 5322 | N/A |  |  |  | N/A
m/z 749.517 | [6 empty] | Composite:
MGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 749.517 |  | N/A
m/z 743.473 | [6 empty] | Composite:
MGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.61 | m/z 743.473 | 1685 | N/A |  |  |  | N/A
m/z 800.625 | [6 empty] | Composite:
MGDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.56 | m/z 800.625 | 419257 | N/A |  |  |  | N/A
m/z 814.640 | [6 empty] | Composite:
MGDG-37:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.55 | m/z 814.640 | 11244 | N/A |  |  |  | N/A
m/z 742.546 | [6 empty] | Composite:
MGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 742.546 |  | N/A
m/z 1695.309 | [6 empty] | Composite:
HPH-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1695.309 |  | N/A
m/z 760.593 | [6 empty] | Composite:
MGDG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.7 | m/z 760.593 | 47002 | N/A |  |  |  | N/A
m/z 717.551 | [6 empty] | Composite:
MGDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 717.551 |  | N/A
m/z 729.551 | [6 empty] | Composite:
MGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.71 | m/z 729.551 |  | N/A |  |  |  | 0.00
m/z 715.535 | [6 empty] | Composite:
MGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 715.535 |  | N/A
m/z 787.629 | [6 empty] | Composite:
MGDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 787.629 |  | N/A
m/z 673.489 | [6 empty] | Composite:
MGDG-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 673.489 |  | N/A
m/z 1457.321 | [6 empty] | Composite:
Gly-GDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1457.321 |  | N/A
m/z 699.504 | [6 empty] | Composite:
MGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.74 | m/z 699.504 | 1766 | N/A |  |  |  | N/A
m/z 697.489 | [6 empty] | Composite:
MGDG-30:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.8 | m/z 697.489 | 5858 | N/A |  |  |  | N/A
m/z 720.562 | [6 empty] | Composite:
MGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.86 | m/z 720.562 | 17006259 | N/A |  |  |  | N/A
m/z 1705.387 | [6 empty] | Composite:
HPH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1705.387 |  | N/A
m/z 1701.356 | [6 empty] | Composite:
HPH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1701.356 |  | N/A
m/z 1453.289 | [6 empty] | Composite:
Gly-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1453.289 |  | N/A
m/z 853.676 | [6 empty] | Composite:
MGDG-41:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 853.676 |  | N/A
m/z 659.473 | [6 empty] | Composite:
MGDG-27:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 659.473 |  | N/A
m/z 619.442 | [6 empty] | Composite:
MGDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 619.442 |  | N/A
m/z 1479.363 | [6 empty] | Composite:
Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1479.363 |  | N/A
m/z 1471.300 | [6 empty] | Composite:
Gly-OH-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1471.300 |  | N/A
m/z 586.431 | [6 empty] | Composite:
Gly-Cer-22:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 586.431 |  | N/A
m/z 607.296 | [6 empty] | Composite:
Gly-dGly-DAG-13:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
6.9 | m/z 607.296 | 1025 | N/A |  |  |  | N/A
m/z 635.327 | [6 empty] | Composite:
Gly-dGly-DAG-15:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.49 | m/z 635.327 | 1200 | N/A |  |  |  | N/A
m/z 592.384 | [6 empty] | Composite:
Gly-Cer-25:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 592.384 |  | N/A
m/z 822.718 | [6 empty] | Composite:
DGTS-40:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.57 | m/z 822.718 | 2405847 | N/A |  |  |  | N/A
m/z 784.606 | [6 empty] | Composite:
DGTS-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.63 | m/z 784.606 | 6888148 | N/A |  |  |  | N/A
m/z 564.353 | [6 empty] | Composite:
Gly-Cer-21:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.61 | m/z 564.353 | 7682 | N/A |  |  |  | N/A
m/z 728.603 | [6 empty] | Composite:
1-GLC-CER
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.53 | m/z 728.603 |  | N/A |  |  |  | 0.00
m/z 758.593 | [6 empty] | Composite:
DGTS-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.64 | m/z 758.593 | 8601026 | N/A |  |  |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.6 | m/z 786.624 | 1996667 | N/A |  |  |  | N/A
m/z 746.591 | [6 empty] | Composite:
DGTS-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.67 | m/z 746.591 | 822178 | N/A |  |  |  | N/A
m/z 736.609 | [6 empty] | Composite:
DGTS-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.68 | m/z 736.609 | 36725159 | N/A |  |  |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.6 | m/z 786.624 | 1996667 | N/A |  |  |  | N/A
m/z 710.593 | [6 empty] | Composite:
DGTS-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.75 | m/z 710.593 | 10580224 | N/A |  |  |  | N/A
m/z 772.609 | [6 empty] | Composite:
DGTS-37:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.67 | m/z 772.609 | 3234 | N/A |  |  |  | N/A
m/z 754.562 | [6 empty] | Composite:
DGTS-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.69 | m/z 754.562 | 16351993 | N/A |  |  |  | N/A
m/z 712.609 | [6 empty] | Composite:
DGTS
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.77 | m/z 712.609 | 843673 | N/A |  |  |  | N/A
m/z 732.577 | [6 empty] | Composite:
DGTS-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.69 | m/z 732.577 | 44265605 | N/A |  |  |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTS-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.79 | m/z 682.562 | 4209187 | N/A |  |  |  | N/A
m/z 756.577 | [6 empty] | Composite:
DGTS-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.67 | m/z 756.577 | 32433974 | N/A |  |  |  | N/A
m/z 698.593 | [6 empty] | Composite:
DGTS-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.79 | m/z 698.593 | 2795256 | N/A |  |  |  | N/A
m/z 738.624 | [6 empty] | Composite:
DGTS-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.73 | m/z 738.624 | 2124678 | N/A |  |  |  | N/A
m/z 670.562 | [6 empty] | Composite:
DGTS-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.85 | m/z 670.562 | 2663653 | N/A |  |  |  | N/A
m/z 734.593 | [6 empty] | Composite:
DGTS-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.73 | m/z 734.593 | 2590740 | N/A |  |  |  | N/A
m/z 740.640 | [6 empty] | Composite:
DGTS-34:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.81 | m/z 740.640 | 12729 | N/A |  |  |  | N/A
m/z 750.624 | [6 empty] | Composite:
DGTS-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.75 | m/z 750.624 |  | N/A |  |  |  | 0.00
m/z 808.702 | [6 empty] | Composite:
DGTS-39:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.702 |  | N/A
m/z 654.530 | [6 empty] | Composite:
DGTS-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.83 | m/z 654.530 | 4382439 | N/A |  |  |  | N/A
m/z 778.656 | [6 empty] | Composite:
DGTS-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 778.656 |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTS-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.82 | m/z 684.577 | 2933156 | N/A |  |  |  | N/A
m/z 760.609 | [6 empty] | Composite:
DGTS-36:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.81 | m/z 760.609 |  | N/A |  |  |  | 0.00
m/z 730.562 | [6 empty] | Composite:
DGTS-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.87 | m/z 730.562 |  | N/A |  |  |  | 0.00
m/z 728.546 | [6 empty] | Composite:
DGTS-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.78 | m/z 728.546 |  | N/A |  |  |  | 0.00
m/z 656.546 | [6 empty] | Composite:
DGTS-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.88 | m/z 656.546 | 14407757 | N/A |  |  |  | N/A
m/z 712.609 | [6 empty] | Composite:
DGTS-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 712.609 |  | N/A
m/z 794.687 | [6 empty] | Composite:
DGTS-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 794.687 |  | N/A
m/z 624.483 | [6 empty] | Composite:
DGTS-26:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.97 | m/z 624.483 | 76667 | N/A |  |  |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTS-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.84 | m/z 708.577 |  | N/A |  |  |  | 0.00
m/z 712.515 | [6 empty] | Composite:
DGTS-34:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 712.515 |  | N/A
m/z 642.530 | [6 empty] | Composite:
DGTS-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.92 | m/z 642.530 | 3591072 | N/A |  |  |  | N/A
m/z 706.562 | [6 empty] | Composite:
DGTS-32:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.85 | m/z 706.562 |  | N/A |  |  |  | 0.00
m/z 628.515 | [6 empty] | Composite:
DGTS-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.95 | m/z 628.515 | 3141146 | N/A |  |  |  | N/A
m/z 668.546 | [6 empty] | Composite:
DGTS-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.07 | m/z 668.546 |  | N/A |  |  |  | 0.00
m/z 770.593 | [6 empty] | Composite:
DGTS-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 770.593 |  | N/A
m/z 704.546 | [6 empty] | Composite:
DGTS-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 704.546 |  | N/A
m/z 639.423 | [6 empty] | Composite:
PG-DAG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.01 | m/z 639.423 | 762 | N/A |  |  |  | N/A
m/z 780.671 | [6 empty] | Composite:
DGTS-37:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 780.671 |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTS-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.09 | m/z 752.640 |  | N/A |  |  |  | 0.00
m/z 696.577 | [6 empty] | Composite:
DGTS-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.2 | m/z 696.577 |  | N/A |  |  |  | 0.00
m/z 714.624 | [6 empty] | Composite:
DGTS-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 714.624 |  | N/A
m/z 760.585 | [6 empty] | Composite:
PDME-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.32 | m/z 760.585 | 8916 | N/A |  |  |  | N/A
m/z 614.499 | [6 empty] | Composite:
DGTS-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.27 | m/z 614.499 |  | N/A |  |  |  | 0.00
m/z 720.554 | [6 empty] | Composite:
C16PDME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.34 | m/z 720.554 |  | N/A |  |  |  | 0.00
m/z 628.515 | [6 empty] | Composite:
DGTA-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 628.515 |  | N/A
m/z 600.483 | [6 empty] | Composite:
DGTA-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 600.483 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PDME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.5 | m/z 692.522 | 171866 | N/A |  |  |  | N/A
m/z 614.499 | [6 empty] | Composite:
DGTA-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.96 | m/z 614.499 |  | N/A |  |  |  | 0.00
m/z 710.593 | [6 empty] | Composite:
DGTA-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 710.593 |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTA-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.41 | m/z 708.577 | 1053 | N/A |  |  |  | N/A
m/z 724.609 | [6 empty] | Composite:
DGTA-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.42 | m/z 724.609 | 1011 | N/A |  |  |  | N/A
m/z 730.562 | [6 empty] | Composite:
DGTA-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.562 |  | N/A
m/z 786.622 | [6 empty] | Composite:
DGTA-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.44 | m/z 786.622 | 133619 | N/A |  |  |  | N/A
m/z 784.609 | [6 empty] | Composite:
DGTA-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.44 | m/z 784.609 | 618502 | N/A |  |  |  | N/A
m/z 756.577 | [6 empty] | Composite:
DGTA-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.53 | m/z 756.577 | 676160 | N/A |  |  |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTA-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.49 | m/z 752.640 |  | N/A |  |  |  | 0.00
m/z 786.624 | [6 empty] | Composite:
DGTA-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.46 | m/z 786.624 | 53875 | N/A |  |  |  | N/A
m/z 830.593 | [6 empty] | Composite:
DGTA-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 830.593 |  | N/A
m/z 858.624 | [6 empty] | Composite:
DGTA-44:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.45 | m/z 858.624 | 623 | N/A |  |  |  | N/A
m/z 856.609 | [6 empty] | Composite:
DGTA-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 856.609 |  | N/A
m/z 796.702 | [6 empty] | Composite:
DGTA-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.55 | m/z 796.702 | 34583 | N/A |  |  |  | N/A
m/z 810.718 | [6 empty] | Composite:
DGTA-39:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.47 | m/z 810.718 | 592 | N/A |  |  |  | N/A
m/z 812.556 | [6 empty] | Composite:
DGTA-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 812.556 |  | N/A
m/z 740.595 | [6 empty] | Composite:
PME-DEG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 740.595 |  | N/A
m/z 760.606 | [6 empty] | Composite:
DGTA-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.53 | m/z 760.606 | 40427 | N/A |  |  |  | N/A
m/z 745.501 | [6 empty] | Composite:
PG-DAG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.6 | m/z 745.501 |  | N/A |  |  |  | 0.00
m/z 558.436 | [6 empty] | Composite:
DGTA-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.49 | m/z 558.436 |  | N/A |  |  |  | 0.00
m/z 736.609 | [6 empty] | Composite:
DGTA-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.65 | m/z 736.609 | 534240 | N/A |  |  |  | N/A
m/z 730.538 | [6 empty] | Composite:
PME-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.57 | m/z 730.538 | 60650 | N/A |  |  |  | N/A
m/z 688.489 | [6 empty] | Composite:
C16PA
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.66 | m/z 688.489 |  | N/A |  |  |  | 0.00
m/z 732.577 | [6 empty] | Composite:
DGTA-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.63 | m/z 732.577 | 769473 | N/A |  |  |  | N/A
m/z 718.538 | [6 empty] | Composite:
PME-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.65 | m/z 718.538 | 77818 | N/A |  |  |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTA-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 684.577 |  | N/A
m/z 706.538 | [6 empty] | Composite:
C16PME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.66 | m/z 706.538 | 19375 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
C16-PE
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.73 | m/z 692.522 | 122163 | N/A |  |  |  | N/A
m/z 530.405 | [6 empty] | Composite:
DGTS-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.59 | m/z 530.405 |  | N/A |  |  |  | 0.00
m/z 678.507 | [6 empty] | Composite:
PME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.76 | m/z 678.507 | 187670 | N/A |  |  |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTA-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.79 | m/z 682.562 | 2153720 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
PME-DAG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.73 | m/z 692.522 | 122163 | N/A |  |  |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 792.575 | 3967613 | N/A |  |  |  | N/A
m/z 670.562 | [6 empty] | Composite:
DGTA-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.86 | m/z 670.562 | 1352398 | N/A |  |  |  | N/A
m/z 710.548 | [6 empty] | Composite:
PME-DEG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.85 | m/z 710.548 | 2294 | N/A |  |  |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 792.575 | 3967613 | N/A |  |  |  | N/A
m/z 656.429 | [6 empty] | Composite:
PME-DAG-29:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.82 | m/z 656.429 |  | N/A |  |  |  | 0.00
m/z 785.530 | [6 empty] | Composite:
PG-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 785.530 |  | N/A
m/z 656.546 | [6 empty] | Composite:
DGTA-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.88 | m/z 656.546 | 3133496 | N/A |  |  |  | N/A
m/z 778.559 | [6 empty] | Composite:
PG-DAG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.91 | m/z 778.559 | 647661 | N/A |  |  |  | N/A
m/z 764.544 | [6 empty] | Composite:
PG-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.91 | m/z 764.544 | 21604729 | N/A |  |  |  | N/A
m/z 693.470 | [6 empty] | Composite:
PG-DAG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.86 | m/z 693.470 |  | N/A |  |  |  | 0.00
m/z 762.528 | [6 empty] | Composite:
PG-DAG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.94 | m/z 762.528 | 10668347 | N/A |  |  |  | N/A
m/z 745.499 | [6 empty] | Composite:
C16-PG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.94 | m/z 745.499 | 4600314 | N/A |  |  |  | N/A
m/z 552.366 | [6 empty] | Composite:
PME-DAG-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 552.366 |  | N/A
m/z 789.564 | [6 empty] | Composite:
PG-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 789.564 |  | N/A
m/z 738.528 | [6 empty] | Composite:
PG-DAG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.98 | m/z 738.528 | 2343980 | N/A |  |  |  | N/A
m/z 757.574 | [6 empty] | Composite:
PG-DEG-37:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.08 | m/z 757.574 |  | N/A |  |  |  | 0.00
m/z 740.544 | [6 empty] | Composite:
PG-DAG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.99 | m/z 740.544 | 968276 | N/A |  |  |  | N/A
m/z 786.601 | [6 empty] | Composite:
PME-DAG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.601 |  | N/A
m/z 558.392 | [6 empty] | Composite:
PE-DEG-25:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 558.392 |  | N/A
m/z 752.544 | [6 empty] | Composite:
PG-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.98 | m/z 752.544 | 300706 | N/A |  |  |  | N/A
m/z 769.501 | [6 empty] | Composite:
PG-DAG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 769.501 |  | N/A
m/z 781.513 | [6 empty] | Composite:
SQDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.14 | m/z 781.513 |  | N/A |  |  |  | 0.00
m/z 678.580 | [6 empty] | Composite:
PME-DEG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 678.580 |  | N/A
m/z 772.585 | [6 empty] | Composite:
PME-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.585 |  | N/A
m/z 800.522 | [6 empty] | Composite:
PC-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 800.522 |  | N/A
m/z 834.540 | [6 empty] | Composite:
SQ-DAG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.29 | m/z 834.540 | 2264688 | N/A |  |  |  | N/A
m/z 818.736 | [6 empty] | Composite:
PC-ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 818.736 |  | N/A
m/z 775.596 | [6 empty] | Composite:
PME-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.42 | m/z 775.596 | 14621 | N/A |  |  |  | N/A
m/z 776.689 | [6 empty] | Composite:
PE-AR
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.41 | m/z 776.689 | 323246 | N/A |  |  |  | N/A
m/z 810.540 | [6 empty] | Composite:
SQDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.34 | m/z 810.540 | 10588288 | N/A |  |  |  | N/A
m/z 874.726 | [6 empty] | Composite:
C21-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.54 | m/z 874.726 | 2600 | N/A |  |  |  | N/A
m/z 841.595 | [6 empty] | Composite:
PG-DAG-41:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 841.595 |  | N/A
m/z 795.529 | [6 empty] | Composite:
SQDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 795.529 |  | N/A
m/z 806.569 | [6 empty] | Composite:
PC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 806.569 |  | N/A
m/z 824.520 | [6 empty] | Composite:
PC-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.58 | m/z 824.520 | 263315 | N/A |  |  |  | N/A
m/z 742.619 | [6 empty] | Composite:
DGCC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.54 | m/z 742.619 | 1745374 | N/A |  |  |  | N/A
m/z 878.569 | [6 empty] | Composite:
PC-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.48 | m/z 878.569 | 73751 | N/A |  |  |  | N/A
m/z 822.601 | [6 empty] | Composite:
PC-39:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.48 | m/z 822.601 | 2316751 | N/A |  |  |  | N/A
m/z 850.536 | [6 empty] | Composite:
PC-40:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.6 | m/z 850.536 | 36611 | N/A |  |  |  | N/A
m/z 852.554 | [6 empty] | Composite:
PC-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 852.554 |  | N/A
m/z 813.482 | [6 empty] | Composite:
SQDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 813.482 |  | N/A
m/z 826.538 | [6 empty] | Composite:
PC-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.61 | m/z 826.538 | 22345 | N/A |  |  |  | N/A
m/z 808.585 | [6 empty] | Composite:
PC-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.585 |  | N/A
m/z 742.536 | [6 empty] | Composite:
PC-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.51 | m/z 742.536 | 1426 | N/A |  |  |  | N/A
m/z 780.554 | [6 empty] | Composite:
PC-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.53 | m/z 780.554 |  | N/A |  |  |  | 0.00
m/z 775.621 | [6 empty] | Composite:
PG-DEG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 775.621 |  | N/A
m/z 734.569 | [6 empty] | Composite:
PC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.72 | m/z 734.569 | 4262887 | N/A |  |  |  | N/A
m/z 734.569 | [6 empty] | Composite:
C16-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.72 | m/z 734.569 | 4262887 | N/A |  |  |  | N/A
m/z 728.603 | [6 empty] | Composite:
DGCC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.57 | m/z 728.603 | 31526507 | N/A |  |  |  | N/A
m/z 756.493 | [6 empty] | Composite:
SQDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.62 | m/z 756.493 | 19327046 | N/A |  |  |  | N/A
m/z 821.544 | [6 empty] | Composite:
SQDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 821.544 |  | N/A
m/z 753.482 | [6 empty] | Composite:
SQDG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 753.482 |  | N/A
m/z 943.560 | [6 empty] | Composite:
SQDG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 943.560 |  | N/A
m/z 686.557 | [6 empty] | Composite:
DGCC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.66 | m/z 686.557 |  | N/A |  |  |  | 0.00
m/z 672.541 | [6 empty] | Composite:
DGCC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 672.541 | 6057007 | N/A |  |  |  | N/A
m/z 678.507 | [6 empty] | Composite:
PC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.68 | m/z 678.507 |  | N/A |  |  |  | 0.00
m/z 744.554 | [6 empty] | Composite:
PC-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.76 | m/z 744.554 |  | N/A |  |  |  | 0.00
m/z 608.501 | [6 empty] | Composite:
PE-DEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 608.501 |  | N/A
m/z 785.450 | [6 empty] | Composite:
SQDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 785.450 | 1806 | N/A |  |  |  | N/A
m/z 851.591 | [6 empty] | Composite:
SQDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.66 | m/z 851.591 |  | N/A |  |  |  | 0.00
m/z 873.576 | [6 empty] | Composite:
SQDG-38:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 873.576 | 7593 | N/A |  |  |  | N/A
m/z 871.560 | [6 empty] | Composite:
SQDG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.66 | m/z 871.560 | 3044 | N/A |  |  |  | N/A
m/z 917.544 | [6 empty] | Composite:
SQDG-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 917.544 | 1209 | N/A |  |  |  | N/A
m/z 819.529 | [6 empty] | Composite:
SQDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.8 | m/z 819.529 |  | N/A |  |  |  | 0.00
m/z 839.495 | [6 empty] | Composite:
SQDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 839.495 | 6570 | N/A |  |  |  | N/A
m/z 815.497 | [6 empty] | Composite:
SQDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.73 | m/z 815.497 |  | N/A |  |  |  | 0.00
m/z 732.554 | [6 empty] | Composite:
PC-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.66 | m/z 732.554 | 4704950 | N/A |  |  |  | N/A
m/z 706.538 | [6 empty] | Composite:
PC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.79 | m/z 706.538 | 8681824 | N/A |  |  |  | N/A
m/z 746.569 | [6 empty] | Composite:
PC-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 746.569 |  | N/A
m/z 789.479 | [6 empty] | Composite:
SQDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 789.479 |  | N/A
m/z 847.560 | [6 empty] | Composite:
SQDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 847.560 |  | N/A
m/z 700.572 | [6 empty] | Composite:
DGCC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.8 | m/z 700.572 |  | N/A |  |  |  | 0.00
m/z 718.538 | [6 empty] | Composite:
PC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.83 | m/z 718.538 |  | N/A |  |  |  | 0.00
m/z 792.554 | [6 empty] | Composite:
PC-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.83 | m/z 692.522 | 2108828 | N/A |  |  |  | N/A
m/z 791.497 | [6 empty] | Composite:
SQDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 791.497 |  | N/A
m/z 805.419 | [6 empty] | Composite:
SQDG-34:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 805.419 |  | N/A
m/z 658.525 | [6 empty] | Composite:
DGCC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.79 | m/z 658.525 | 151461 | N/A |  |  |  | N/A
m/z 788.616 | [6 empty] | Composite:
PC-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.87 | m/z 788.616 |  | N/A |  |  |  | 0.00
m/z 644.510 | [6 empty] | Composite:
DGCC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.86 | m/z 644.510 | 160295 | N/A |  |  |  | N/A
m/z 736.491 | [6 empty] | Composite:
PC-33:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.83 | m/z 736.491 | 64252 | N/A |  |  |  | N/A
m/z 664.491 | [6 empty] | Composite:
PC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 664.491 | 406539 | N/A |  |  |  | N/A
m/z 739.502 | [6 empty] | Composite:
PC-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 739.502 |  | N/A |  |  |  | 0.00
m/z 712.572 | [6 empty] | Composite:
DGCC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 712.572 |  | N/A
m/z 744.554 | [6 empty] | Composite:
PE-DAG/AEG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.89 | m/z 744.554 | 410808 | N/A |  |  |  | N/A
m/z 586.423 | [6 empty] | Composite:
PE-DEG-27:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.9 | m/z 586.423 | 20816 | N/A |  |  |  | N/A
m/z 762.601 | [6 empty] | Composite:
PC-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 762.601 |  | N/A |  |  |  | 0.00
m/z 732.554 | [6 empty] | Composite:
PE-DAG/AEG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 732.554 |  | N/A
m/z 786.598 | [6 empty] | Composite:
PC-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.89 | m/z 786.598 | 3900 | N/A |  |  |  | N/A
m/z 770.476 | [6 empty] | Composite:
PC-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.92 | m/z 770.476 | 14908 | N/A |  |  |  | N/A
m/z 676.491 | [6 empty] | Composite:
PE-DAG/AEG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.04 | m/z 676.491 |  | N/A |  |  |  | 0.00
m/z 674.476 | [6 empty] | Composite:
PE-DAG/AEG-31:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.05 | m/z 674.476 | 8212 | N/A |  |  |  | N/A
m/z 702.507 | [6 empty] | Composite:
PE-DAG/AEG-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.95 | m/z 702.507 |  | N/A |  |  |  | 0.00
m/z 754.538 | [6 empty] | Composite:
PC-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 754.538 | 14152 | N/A |  |  |  | N/A
m/z 648.460 | [6 empty] | Composite:
PE-DAG/AEG-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.96 | m/z 648.460 | 387 | N/A |  |  |  | N/A
m/z 664.491 | [6 empty] | Composite:
PE-DAG/AEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 664.491 | 409744 | N/A |  |  |  | N/A
m/z 662.476 | [6 empty] | Composite:
PE-DAG/AEG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11 | m/z 662.476 |  | N/A |  |  |  | 0.00
m/z 678.507 | [6 empty] | Composite:
PE-DAG/AEG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11 | m/z 678.507 |  | N/A |  |  |  | 0.00
m/z 690.507 | [6 empty] | Composite:
PE-DAG/AEG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11 | m/z 690.507 | 659372 | N/A |  |  |  | N/A
m/z 688.491 | [6 empty] | Composite:
PE-DAG/AEG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 688.491 | 229658 | N/A |  |  |  | N/A
m/z 764.522 | [6 empty] | Composite:
PE-DAG/AEG-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 764.522 |  | N/A
m/z 792.554 | [6 empty] | Composite:
PE-DAG/AEG-40:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 790.538 | [6 empty] | Composite:
PE-DAG/AEG-40:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 790.538 |  | N/A
m/z 836.522 | [6 empty] | Composite:
PE-DAG/AEG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 836.522 |  | N/A |  |  |  | 0.00
m/z 700.564 | [6 empty] | Composite:
PE-DEG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 700.564 |  | N/A
m/z 716.522 | [6 empty] | Composite:
PE-DAG/AEG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 716.522 |  | N/A |  |  |  | 0.00
m/z 650.476 | [6 empty] | Composite:
PE-DAG/AEG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 650.476 | 309296 | N/A |  |  |  | N/A
m/z 706.538 | [6 empty] | Composite:
PE-DAG/AEG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 706.538 |  | N/A |  |  |  | 0.00
m/z 546.392 | [6 empty] | Composite:
PE-DEG-24:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.392 |  | N/A
m/z 726.507 | [6 empty] | Composite:
PE-DAG/AEG-35:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 726.507 | 15547 | N/A |  |  |  | N/A
m/z 636.460 | [6 empty] | Composite:
PE-DAG/AEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.03 | m/z 636.460 |  | N/A |  |  |  | 0.00
m/z 730.538 | [6 empty] | Composite:
PE-DAG/AEG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.538 |  | N/A
m/z 738.507 | [6 empty] | Composite:
PC-33:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.06 | m/z 738.507 |  | N/A |  |  |  | 0.00
m/z 748.585 | [6 empty] | Composite:
PC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11 | m/z 748.585 |  | N/A |  |  |  | 0.00
m/z 636.533 | [6 empty] | Composite:
PE-DEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 636.533 |  | N/A
m/z 765.482 | [6 empty] | Composite:
SQDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.15 | m/z 765.482 |  | N/A |  |  |  | 0.00
m/z 622.423 | [6 empty] | Composite:
PC-DEG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.16 | m/z 622.423 |  | N/A |  |  |  | 0.00
m/z 704.522 | [6 empty] | Composite:
PE-DAG/AEG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 704.522 |  | N/A
m/z 650.476 | [6 empty] | Composite:
PC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.41 | m/z 650.476 | 9369 | N/A |  |  |  | N/A
m/z 780.493 | [6 empty] | Composite:
SQDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.46 | m/z 780.493 | 479771 | N/A |  |  |  | N/A
m/z 1621.389 | [6 empty] | Composite:
2Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1621.389 |  | N/A
m/z 1637.384 | [6 empty] | Composite:
2Gly-OH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1637.384 |  | N/A
m/z 711.435 | [6 empty] | Composite:
SQDG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.57 | m/z 711.435 |  | N/A |  |  |  | 0.00
m/z 683.403 | [6 empty] | Composite:
SQDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.67 | m/z 683.403 |  | N/A |  |  |  | 0.00
m/z 1641.415 | [6 empty] | Composite:
2Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1641.415 |  | N/A
m/z 580.384 | [6 empty] | Composite:
DGCC-22:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.65 | m/z 580.384 | 1398 | N/A |  |  |  | N/A
m/z 937.588 | [6 empty] | Composite:
DGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.84 | m/z 937.588 | 130219 | N/A |  |  |  | N/A
m/z 844.572 | [6 empty] | Composite:
DGCC-42:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 844.572 |  | N/A
m/z 936.662 | [6 empty] | Composite:
DGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.76 | m/z 936.662 | 1316983 | N/A |  |  |  | N/A
m/z 612.447 | [6 empty] | Composite:
DGCC-24:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.87 | m/z 612.447 | 1521 | N/A |  |  |  | N/A
m/z 800.603 | [6 empty] | Composite:
DGCC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.87 | m/z 800.603 | 440 | N/A |  |  |  | N/A
m/z 669.388 | [6 empty] | Composite:
SQDG-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 669.388 |  | N/A
m/z 908.631 | [6 empty] | Composite:
DGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.87 | m/z 908.631 | 2222962 | N/A |  |  |  | N/A
m/z 772.572 | [6 empty] | Composite:
DGCC-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.572 |  | N/A
m/z 926.584 | [6 empty] | Composite:
DGDG-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.88 | m/z 926.584 | 545312 | N/A |  |  |  | N/A
m/z 907.541 | [6 empty] | Composite:
DGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.93 | m/z 907.541 | 126313 | N/A |  |  |  | N/A
m/z 910.646 | [6 empty] | Composite:
DGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.88 | m/z 910.646 | 1206851 | N/A |  |  |  | N/A
m/z 917.620 | [6 empty] | Composite:
DGDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 917.620 |  | N/A
m/z 913.588 | [6 empty] | Composite:
DGDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.87 | m/z 913.588 | 328699 | N/A |  |  |  | N/A
m/z 929.620 | [6 empty] | Composite:
DGDG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.87 | m/z 929.620 |  | N/A |  |  |  | 0.00
m/z 931.635 | [6 empty] | Composite:
DGDG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 931.635 |  | N/A
m/z 915.604 | [6 empty] | Composite:
DGDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.9 | m/z 915.604 | 199212 | N/A |  |  |  | N/A
m/z 600.447 | [6 empty] | Composite:
DGCC-23:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 600.447 |  | N/A
m/z 1625.420 | [6 empty] | Composite:
2Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1625.420 |  | N/A
m/z 1659.368 | [6 empty] | Composite:
Gly-Hp-BDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1659.368 |  | N/A
m/z 1639.400 | [6 empty] | Composite:
2Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1639.400 |  | N/A
m/z 882.615 | [6 empty] | Composite:
DGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.02 | m/z 882.615 | 5337087 | N/A |  |  |  | N/A
m/z 911.573 | [6 empty] | Composite:
DGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 911.573 |  | N/A
m/z 1663.400 | [6 empty] | Composite:
Gly-Hp-BDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1663.400 |  | N/A
m/z 1623.405 | [6 empty] | Composite:
2Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1623.405 |  | N/A
m/z 1645.389 | [6 empty] | Composite:
2Gly-PDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1645.389 |  | N/A
m/z 883.539 | [6 empty] | Composite:
DGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.24 | m/z 883.539 |  | N/A |  |  |  | 0.00
m/z 1661.384 | [6 empty] | Composite:
Gly-Hp-BDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1661.384 |  | N/A
m/z 883.541 | [6 empty] | Composite:
DGDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 883.541 |  | N/A
m/z 898.552 | [6 empty] | Composite:
DGDG-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.19 | m/z 898.552 |  | N/A |  |  |  | 0.00
m/z 885.557 | [6 empty] | Composite:
DGDG-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.3 | m/z 885.557 |  | N/A |  |  |  | 0.00
m/z 889.588 | [6 empty] | Composite:
DGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 889.588 |  | N/A |  |  |  | 0.00
m/z 524.371 | [6 empty] | Composite:
IS-PC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 524.371 | 155330072 | N/A |  |  |  | N/A
m/z 837.557 | [6 empty] | Composite:
DGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.18 | m/z 837.557 | 5836 | N/A |  |  |  | N/A
m/z 524.371 | [6 empty] | Composite:
C16PAF
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 524.371 | 155328712 | N/A |  |  |  | N/A
m/z 705.591 | [6 empty] | Composite:
PC-DEG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 705.591 | 753444 | N/A |  |  |  | N/A
m/z 877.588 | [6 empty] | Composite:
DGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 877.588 |  | N/A
m/z 602.463 | [6 empty] | Composite:
DGCC-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 602.463 |  | N/A
m/z 574.431 | [6 empty] | Composite:
DGCC-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.77 | m/z 574.431 |  | N/A |  |  |  | 0.00
m/z 546.400 | [6 empty] | Composite:
DGCC-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.400 |  | N/A
m/z 518.369 | [6 empty] | Composite:
DGCC-17:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 518.369 |  | N/A
m/z 504.353 | [6 empty] | Composite:
DGCC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
13.11 | m/z 504.353 |  | N/A |  |  |  | 0.00
m/z 590.369 | [6 empty] | Composite:
DGCC-23:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 590.369 |  | N/A