## eet1_QEF1622_OG29_T3-750-0-3_SC
Confirmation Report
Lab Name: | OGL
Instrument: | QEFocus |  |  |  | Method: | Known_IPLs_Marine_11_14_2018_Known_IPLs_Marine_11_14_2018
User: | Thermo |  |  |  |  | Known_IPLs_Marine_11_14_2018
Batch: | Known_IPLs_Marine_11_14_2018 |  |  |  | Cali File: | Known_IPLs_Marine_11_14_2018.calx
Vial Pos | Sample ID |  | File Name | Level | Sample Name |  | File Date | Comment
RB8 | 1 |  | QEF1622_OG29_T3-750-0-3_SC | N/A |  |  | 2018-07-31 22:00
MGDG-36:5 | [5 empty] | Quan Peak: | m/z777.55112 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 2.6368
Area: |  | 3325
Height: |  | 5498
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-19:2 | [5 empty] | Quan Peak: | m/z549.36332 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 359
Height: |  | 593
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG | [5 empty] | Quan Peak: | m/z775.53547 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1035
Height: |  | 1712
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-34:1 | [5 empty] | Quan Peak: | m/z772.59332 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 2885
Height: |  | 1331
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
Gly-GDGT-0 | [5 empty] | Quan Peak: | m/z1463.36767 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 2591
Height: |  | 1547
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-30:1 | [5 empty] | Quan Peak: | m/z718.54637 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1235
Height: |  | 1256
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-28:0 | [5 empty] | Quan Peak: | m/z692.53072 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 3.4889
Area: |  | 362014
Height: |  | 59345
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-34:5 | [5 empty] | Quan Peak: | m/z747.50417 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 3944
Height: |  | 1299
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-36:4 | [5 empty] | Quan Peak: | m/z779.56677 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 3494
Height: |  | 1685
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-32:1 | [5 empty] | Quan Peak: | m/z749.51742 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 3.5256
Area: |  | 1374
Height: |  | 2273
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-36:2 | [5 empty] | Quan Peak: | m/z800.62462 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 3.6172
Area: |  | 5367
Height: |  | 2532
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-31:0 | [5 empty] | Quan Peak: | m/z717.55112 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 2260
Height: |  | 1681
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-32:0 | [5 empty] | Quan Peak: | m/z729.55112 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 462
Height: |  | 764
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-31:1 | [5 empty] | Quan Peak: | m/z715.53547 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 897
Height: |  | 1483
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-30:2 | [5 empty] | Quan Peak: | m/z699.50417 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 3.7086
Area: |  | 551
Height: |  | 911
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
MGDG-30:0 | [5 empty] | Quan Peak: | m/z720.56202 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 3.8277
Area: |  | 129223
Height: |  | 19311
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
Gly-Cer-22:2 | [5 empty] | Quan Peak: | m/z586.43134 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 6.0201
Area: |  | 4142
Height: |  | 1399
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-40:1 | [5 empty] | Quan Peak: | m/z822.71813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1642
Height: |  | 2780
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
Gly-Cer-21:6 | [5 empty] | Quan Peak: | m/z564.35309 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 905
Height: |  | 1528
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
1-GLC-CER | [5 empty] | Quan Peak: | m/z728.60349 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.5986
Area: |  | 2188
Height: |  | 1585
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-34:2 | [5 empty] | Quan Peak: | m/z736.60858 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.7423
Area: |  | 9997
Height: |  | 4433
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-36:6 | [5 empty] | Quan Peak: | m/z754.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1331
Height: |  | 1390
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS | [5 empty] | Quan Peak: | m/z712.60858 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.7605
Area: |  | 137873
Height: |  | 27862
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-30:1 | [5 empty] | Quan Peak: | m/z682.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 485
Height: |  | 802
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-31:0 | [5 empty] | Quan Peak: | m/z698.59293 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.788
Area: |  | 98057
Height: |  | 21870
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-29:0 | [5 empty] | Quan Peak: | m/z670.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.8426
Area: |  | 337417
Height: |  | 84445
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-34:0 | [5 empty] | Quan Peak: | m/z740.63988 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.6969
Area: |  | 49365
Height: |  | 7051
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-34:1 | [5 empty] | Quan Peak: | m/z738.62423 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.7332
Area: |  | 8022
Height: |  | 2340
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-28:1 | [5 empty] | Quan Peak: | m/z654.53033 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1255
Height: |  | 2075
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-30:0 | [5 empty] | Quan Peak: | m/z684.57728 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.8154
Area: |  | 208995
Height: |  | 49465
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-34:6 | [5 empty] | Quan Peak: | m/z728.54598 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 4474
Height: |  | 5355
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-28:0 | [5 empty] | Quan Peak: | m/z656.54598 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.8701
Area: |  | 520496
Height: |  | 141846
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-34:8 | [5 empty] | Quan Peak: | m/z712.51468 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.8975
Area: |  | 609
Height: |  | 1009
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-27:0 | [5 empty] | Quan Peak: | m/z642.53033 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.9067
Area: |  | 126139
Height: |  | 37656
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-26:0 | [5 empty] | Quan Peak: | m/z628.51468 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 7.9434
Area: |  | 105672
Height: |  | 36177
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-29:1 | [5 empty] | Quan Peak: | m/z668.54598 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 922
Height: |  | 1524
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-37:6 | [5 empty] | Quan Peak: | m/z770.59293 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 744
Height: |  | 1230
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-26:0 | [5 empty] | Quan Peak: | m/z639.42316 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 6588
Height: |  | 4436
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-33:0 | [5 empty] | Quan Peak: | m/z714.62423 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 499
Height: |  | 825
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16PDME | [5 empty] | Quan Peak: | m/z720.55378 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 8.3923
Area: |  | 27113
Height: |  | 5378
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PDME-DAG-30:0 | [5 empty] | Quan Peak: | m/z692.52248 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 8.4839
Area: |  | 66468
Height: |  | 11972
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-34:5 | [5 empty] | Quan Peak: | m/z730.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.5385
Area: |  | 1488
Height: |  | 1527
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-38:0 | [5 empty] | Quan Peak: | m/z796.70248 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.5385
Area: |  | 4844
Height: |  | 1457
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-34:1 | [5 empty] | Quan Peak: | m/z745.50141 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 443
Height: |  | 732
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-21:0 | [5 empty] | Quan Peak: | m/z558.43643 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 450
Height: |  | 768
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PME-DAG-34:2 | [5 empty] | Quan Peak: | m/z730.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.6201
Area: |  | 17160
Height: |  | 4713
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16PA | [5 empty] | Quan Peak: | m/z688.48878 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.5743
Area: |  | 621
Height: |  | 1045
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PME-DAG-33:1 | [5 empty] | Quan Peak: | m/z718.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 439
Height: |  | 726
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16PME | [5 empty] | Quan Peak: | m/z706.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.6568
Area: |  | 130393
Height: |  | 12286
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTS-19:0 | [5 empty] | Quan Peak: | m/z530.40513 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 950
Height: |  | 920
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PME-DAG-30:0 | [5 empty] | Quan Peak: | m/z678.50683 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.7661
Area: |  | 25525
Height: |  | 4481
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-30:1 | [5 empty] | Quan Peak: | m/z682.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.7117
Area: |  | 7089
Height: |  | 3673
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-36:1 | [5 empty] | Quan Peak: | m/z792.57491 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.8838
Area: |  | 1239
Height: |  | 1068
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-29:0 | [5 empty] | Quan Peak: | m/z670.56163 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.8385
Area: |  | 78856
Height: |  | 13478
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-36:2 | [5 empty] | Quan Peak: | m/z792.57491 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.8838
Area: |  | 1239
Height: |  | 1068
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PME-DAG-29:4 | [5 empty] | Quan Peak: | m/z656.42858 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 772
Height: |  | 1277
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGTA-28:0 | [5 empty] | Quan Peak: | m/z656.54598 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.8746
Area: |  | 94596
Height: |  | 18496
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-34:2 | [5 empty] | Quan Peak: | m/z764.54361 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.9384
Area: |  | 55803
Height: |  | 13002
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-34:3 | [5 empty] | Quan Peak: | m/z762.52796 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 7281
Height: |  | 5961
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16-PG | [5 empty] | Quan Peak: | m/z745.49901 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.0207
Area: |  | 30131
Height: |  | 8145
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-32:1 | [5 empty] | Quan Peak: | m/z738.52796 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.0665
Area: |  | 5335
Height: |  | 2003
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DEG-37:0 | [5 empty] | Quan Peak: | m/z757.57418 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1184
Height: |  | 1112
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-32:0 | [5 empty] | Quan Peak: | m/z740.54361 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.0207
Area: |  | 107737
Height: |  | 16818
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PG-DAG-33:1 | [5 empty] | Quan Peak: | m/z752.54361 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 9.9659
Area: |  | 111887
Height: |  | 21367
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQ-DAG | [5 empty] | Quan Peak: | m/z834.53957 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 472
Height: |  | 781
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-ARCHAEOL | [5 empty] | Quan Peak: | m/z818.73610 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.3688
Area: |  | 39471
Height: |  | 2312
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-AR | [5 empty] | Quan Peak: | m/z776.68915 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.3688
Area: |  | 767215
Height: |  | 51835
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-32:0 | [5 empty] | Quan Peak: | m/z795.52867 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 735
Height: |  | 1216
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-38:2 | [5 empty] | Quan Peak: | m/z824.52008 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.5338
Area: |  | 1612
Height: |  | 1160
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-33:0 | [5 empty] | Quan Peak: | m/z742.61914 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.4788
Area: |  | 8411
Height: |  | 1484
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-44:12 | [5 empty] | Quan Peak: | m/z878.56943 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 551
Height: |  | 911
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-42:11 | [5 empty] | Quan Peak: | m/z852.55378 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 515
Height: |  | 851
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-40:10 | [5 empty] | Quan Peak: | m/z826.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 978
Height: |  | 898
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-31:0 | [5 empty] | Quan Peak: | m/z742.53573 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 436
Height: |  | 721
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-32:0 | [5 empty] | Quan Peak: | m/z734.56943 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.717
Area: |  | 53212
Height: |  | 6519
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16-PC | [5 empty] | Quan Peak: | m/z734.56943 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.717
Area: |  | 53212
Height: |  | 6519
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-32:0 | [5 empty] | Quan Peak: | m/z728.60349 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.5796
Area: |  | 77041
Height: |  | 9531
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-28:0 | [5 empty] | Quan Peak: | m/z756.49262 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.6254
Area: |  | 21103
Height: |  | 4359
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-34:1 | [5 empty] | Quan Peak: | m/z821.54432 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 446
Height: |  | 737
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-44:12 | [5 empty] | Quan Peak: | m/z943.55997 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 528
Height: |  | 874
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-29:0 | [5 empty] | Quan Peak: | m/z686.55654 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.6712
Area: |  | 7684
Height: |  | 3258
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-28:0 | [5 empty] | Quan Peak: | m/z672.54089 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.7078
Area: |  | 3526
Height: |  | 4199
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-28:0 | [5 empty] | Quan Peak: | m/z678.50683 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.7445
Area: |  | 840
Height: |  | 799
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-33:2 | [5 empty] | Quan Peak: | m/z744.55378 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.772
Area: |  | 755
Height: |  | 1249
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DEG-28:0 | [5 empty] | Quan Peak: | m/z608.50135 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.6712
Area: |  | 1486
Height: |  | 2458
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-38:4 | [5 empty] | Quan Peak: | m/z871.55997 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 461
Height: |  | 763
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-30:0 | [5 empty] | Quan Peak: | m/z706.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.7628
Area: |  | 78633
Height: |  | 9320
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-33:1 | [5 empty] | Quan Peak: | m/z746.56943 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.8178
Area: |  | 1669
Height: |  | 2761
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-30:0 | [5 empty] | Quan Peak: | m/z700.57219 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.8544
Area: |  | 843
Height: |  | 721
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-29:0 | [5 empty] | Quan Peak: | m/z692.52248 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.8269
Area: |  | 75830
Height: |  | 7856
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-32:2 | [5 empty] | Quan Peak: | m/z791.49737 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 482
Height: |  | 798
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-27:0 | [5 empty] | Quan Peak: | m/z658.52524 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.7994
Area: |  | 9270
Height: |  | 4154
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-26:0 | [5 empty] | Quan Peak: | m/z644.50959 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.8544
Area: |  | 13600
Height: |  | 5019
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-27:0 | [5 empty] | Quan Peak: | m/z664.49118 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9094
Area: |  | 98736
Height: |  | 13069
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-36:2 | [5 empty] | Quan Peak: | m/z744.55378 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9919
Area: |  | 8937
Height: |  | 2553
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-33:2 | [5 empty] | Quan Peak: | m/z702.50683 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9552
Area: |  | 3278
Height: |  | 1567
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-30:0 | [5 empty] | Quan Peak: | m/z664.49118 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9094
Area: |  | 98659
Height: |  | 12942
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-30:1 | [5 empty] | Quan Peak: | m/z662.47553 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9735
Area: |  | 413
Height: |  | 684
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-32:0 | [5 empty] | Quan Peak: | m/z690.50683 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 11.0285
Area: |  | 12732
Height: |  | 2116
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-32:1 | [5 empty] | Quan Peak: | m/z688.49118 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9369
Area: |  | 4433
Height: |  | 1135
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-40:6 | [5 empty] | Quan Peak: | m/z792.55378 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 11.0193
Area: |  | 624
Height: |  | 1032
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-29:0 | [5 empty] | Quan Peak: | m/z650.47553 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.9827
Area: |  | 82701
Height: |  | 14726
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-34:2 | [5 empty] | Quan Peak: | m/z716.52248 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 10.946
Area: |  | 15567
Height: |  | 5674
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-28:0 | [5 empty] | Quan Peak: | m/z636.45988 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 11.0652
Area: |  | 15835
Height: |  | 2875
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PE-DAG/AEG-35:2 | [5 empty] | Quan Peak: | m/z730.53813 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 11.0468
Area: |  | 5312
Height: |  | 1881
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-DEG-26:0 | [5 empty] | Quan Peak: | m/z622.42310 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1133
Height: |  | 1317
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-26:0 | [5 empty] | Quan Peak: | m/z650.47553 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 345
Height: |  | 570
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGDG | [5 empty] | Quan Peak: | m/z937.58830 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 344
Height: |  | 568
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
SQDG-23:0 | [5 empty] | Quan Peak: | m/z669.38782 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 321
Height: |  | 531
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGDG-34:2 | [5 empty] | Quan Peak: | m/z917.61960 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 407
Height: |  | 674
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-23:1 | [5 empty] | Quan Peak: | m/z600.44699 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 11.9905
Area: |  | 953
Height: |  | 1019
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGDG-30:0 | [5 empty] | Quan Peak: | m/z882.61485 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.0547
Area: |  | 2604
Height: |  | 1007
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
2Gly-GDGT-1 | [5 empty] | Quan Peak: | m/z1623.40484 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 453
Height: |  | 750
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
2Gly-PDGT-4 | [5 empty] | Quan Peak: | m/z1645.38919 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.0455
Area: |  | 453
Height: |  | 750
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGDG-32:4 | [5 empty] | Quan Peak: | m/z885.55700 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.2837
Area: |  | 6331
Height: |  | 2157
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
IS-PC-16:0 | [5 empty] | Quan Peak: | m/z524.37107 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.3112
Area: |  | 2312263
Height: |  | 416189
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGDG-28:0 | [5 empty] | Quan Peak: | m/z837.55700 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 1558
Height: |  | 709
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
C16PAF | [5 empty] | Quan Peak: | m/z524.37107 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.3112
Area: |  | 2312263
Height: |  | 416189
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
PC-DEG-30:2 | [5 empty] | Quan Peak: | m/z705.59050 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.3662
Area: |  | 364
Height: |  | 602
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-23:0 | [5 empty] | Quan Peak: | m/z602.46264 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 275
Height: |  | 455
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-21:0 | [5 empty] | Quan Peak: | m/z574.43134 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 12.7876
Area: |  | 272
Height: |  | 450
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-19:0 | [5 empty] | Quan Peak: | m/z546.40004 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 213
Height: |  | 353
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-16:0 | [5 empty] | Quan Peak: | m/z504.35309 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 13.0625
Area: |  | 361
Height: |  | 597
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay
DGCC-23:6 | [5 empty] | Quan Peak: | m/z590.36874 mz
| Injected |  | Sample | Flags
Conc: | N/A |  | N/A
Retention Time: |  | 0
Area: |  | 160
Height: |  | 265
**MANUAL SETTINGS**
Calibration Curve
[6 empty] | Qual Ion 1: | N/A mz
[6 empty] | Qual Ion 2: | N/A mz
Overlay

## eet2_QEF1622_OG29_T3-750-0-3_SC
Confirmation Report
Lab Name: | OGL
Instrument: | QEFocus |  |  | Method: | Known_IPLs_Marine_11_14_2018_Known_IPLs_Marine_11_14_2018
User: | Thermo |  |  |  | Known_IPLs_Marine_11_14_2018
Batch: | Known_IPLs_Marine_11_14_2018 |  |  | Cali File: | Known_IPLs_Marine_11_14_2018.calx
Vial Pos | Sample ID | File Name | Level | Sample Name |  | File Date | Comment
RB8 | 1 | QEF1622_OG29_T3-750-0-3_SC | N/A |  |  | 2018-07-31 22:00
The following compounds were not found in the sample.
Compound Name |  |  |  | Expected Retention Time
ARCHAEOL |  |  |  | 0.94,0.94,0.94
Gly-PDGT-0 |  |  |  | 3.20,3.20,3.20
Gly-GDGT-4 |  |  |  | 3.30,3.30,3.30
MGDG-36:8 |  |  |  | 3.35,3.35,3.35
MGDG-36:9 |  |  |  | 3.38,3.38,3.38
MGDG-36:10 |  |  |  | 3.40,3.40,3.40
Gly-GDGT-2 |  |  |  | 3.41,3.41,3.41
Gly-GDGT-1 |  |  |  | 3.43,3.43,3.43
Gly-OH-GDGT-1 |  |  |  | 3.49,3.49,3.49
MGDG-34:7 |  |  |  | 3.53,3.53,3.53
MGDG-37:3 |  |  |  | 3.55,3.55,3.55
MGDG-32:2 |  |  |  | 3.60,3.60,3.60
HPH-GDGT-5 |  |  |  | 3.61,3.61,3.61
MGDG-33:0 |  |  |  | 3.62,3.62,3.62
MGDG-36:0 |  |  |  | 3.65,3.65,3.65
MGDG-28:1 |  |  |  | 3.66,3.66,3.66
Gly-GDGT-3 |  |  |  | 3.68,3.68,3.68
MGDG-30:3 |  |  |  | 3.72,3.72,3.72
HPH-GDGT-0 |  |  |  | 3.86,3.86,3.86
HPH-GDGT-2 |  |  |  | 3.86,3.86,3.86
Gly-GDGT-5 |  |  |  | 3.95,3.95,3.95
MGDG-41:3 |  |  |  | 4.12,4.12,4.12
MGDG-27:2 |  |  |  | 4.29,4.29,4.29
MGDG-24:0 |  |  |  | 4.47,4.47,4.47,4.63,4.63,4.63
Gly-OH-GDGT-0 |  |  |  | 4.85,4.85,4.85
Gly-OH-GDGT-4 |  |  |  | 5.02,5.02,5.02
Gly-dGly-DAG-13:2 |  |  |  | 6.88,6.88,6.88
Gly-dGly-DAG-15:2 |  |  |  | 7.43,7.43,7.43
Gly-Cer-25:6 |  |  |  | 7.47,7.47,7.47
DGTS-36:2 |  |  |  | 7.55,7.55,7.55
DGTS-36:4 |  |  |  | 7.62,7.62,7.62
DGTS-38:0 |  |  |  | 7.63,7.63,7.63,7.68,7.68,7.68
DGTS-33:1 |  |  |  | 7.64,7.64,7.64
DGTS-38:5 |  |  |  | 7.68,7.68,7.68
DGTS-32:1 |  |  |  | 7.69,7.69,7.69
DGTS-37:5 |  |  |  | 7.70,7.70,7.70
DGTS-34:4 |  |  |  | 7.73,7.73,7.73
DGTS-36:5 |  |  |  | 7.74,7.77,7.77,7.77,7.75,7.75,7.75,7.74,7.74
DGTS-34:3 |  |  |  | 7.77,7.77,7.77
DGTS-35:1 |  |  |  | 7.78,7.78,7.78
DGTS-39:1 |  |  |  | 7.78,7.78,7.78
DGTS-37:2 |  |  |  | 7.79,7.79,7.79
DGTS-36:3 |  |  |  | 7.81,7.81,7.81
DGTS-34:5 |  |  |  | 7.82,7.82,7.82
DGTS-32:0 |  |  |  | 7.87,7.87,7.87
DGTS-38:1 |  |  |  | 7.87,7.87,7.87
DGTS-26:2 |  |  |  | 7.89,7.89,7.89
DGTS-32:2 |  |  |  | 7.89,7.89,7.89
DGTS-32:3 |  |  |  | 7.92,7.92,7.92
DGTS-32:4 |  |  |  | 8.04,8.04,8.04
DGTS-37:1 |  |  |  | 8.08,8.08,8.08
DGTS-35:0 |  |  |  | 8.13,8.13,8.13
DGTS-31:1 |  |  |  | 8.14,8.14,8.14
PDME-DAG-35:1 |  |  |  | 8.27,8.27,8.27
DGTS-25:0 |  |  |  | 8.33,8.33,8.33
DGTA-26:0 |  |  |  | 8.38,8.38,8.38
DGTA-24:0 |  |  |  | 8.42,8.42,8.42
DGTA-25:0 |  |  |  | 9.00,9.00,9.00
DGTA-32:1 |  |  |  | 9.35,9.35,9.35
DGTA-32:2 |  |  |  | 9.37,9.37,9.37
DGTA-33:1 |  |  |  | 9.45,9.45,9.45
DGTA-36:2 |  |  |  | 9.50,9.50,9.50
DGTA-38:6 |  |  |  | 9.51,9.51,9.51
DGTA-36:6 |  |  |  | 9.52,9.52,9.52
DGTA-35:1 |  |  |  | 9.53,9.53,9.53
DGTA-38:5 |  |  |  | 9.53,9.53,9.53
DGTA-42:11 |  |  |  | 9.53,9.53,9.53
DGTA-44:11 |  |  |  | 9.53,9.53,9.53
DGTA-44:12 |  |  |  | 9.53,9.53,9.53
DGTA-39:0 |  |  |  | 9.54,9.54,9.54
DGTA-40:10 |  |  |  | 9.55,9.55,9.55
PME-DEG-38:4 |  |  |  | 9.55,9.55,9.55
DGTA-34:1 |  |  |  | 9.56,9.56,9.56
DGTA-34:2 |  |  |  | 9.59,9.59,9.59
DGTA-34:4 |  |  |  | 9.62,9.62,9.62
DGTA-30:0 |  |  |  | 9.64,9.64,9.64
C16-PE |  |  |  | 9.66,9.66,9.66
PME-DAG-31:0 |  |  |  | 9.74,9.74,9.74
PME-DEG-36:5 |  |  |  | 9.84,9.84,9.84
PG-DAG-35:1 |  |  |  | 9.86,9.86,9.86
PG-DAG-35:2 |  |  |  | 9.88,9.88,9.88
PG-DAG-30:1 |  |  |  | 9.90,9.90,9.90
PME-DAG-21:0 |  |  |  | 9.95,9.95,9.95
PG-DAG-37:2 |  |  |  | 9.96,9.96,9.96
PME-DAG-38:2 |  |  |  | 10.02,10.02,10.02
PE-DEG-25:4 |  |  |  | 10.03,10.03,10.03
PG-DAG-36:5 |  |  |  | 10.06,10.06,10.06
SQDG-31:0 |  |  |  | 10.06,10.06,10.06
PME-DEG-33:0 |  |  |  | 10.09,10.09,10.09
PME-DAG-37:2 |  |  |  | 10.12,10.12,10.12
PC-38:1 |  |  |  | 10.19,10.19,10.19
PME-DAG-36:2 |  |  |  | 10.34,10.34,10.34
SQDG-32:1 |  |  |  | 10.37,10.37,10.37
C21-PC |  |  |  | 10.46,10.46,10.46
PG-DAG-41:4 |  |  |  | 10.46,10.46,10.46
PC-38:6 |  |  |  | 10.49,10.49,10.49
PC-39:5 |  |  |  | 10.55,10.55,10.55
PC-40:9 |  |  |  | 10.55,10.55,10.55
SQDG-34:5 |  |  |  | 10.55,10.55,10.55
PC-38:5 |  |  |  | 10.58,10.58,10.58
PC-36:5 |  |  |  | 10.60,10.60,10.60
PG-DEG-38:2 |  |  |  | 10.63,10.63,10.63
SQDG-29:0 |  |  |  | 10.69,10.69,10.69
SQDG-32:5 |  |  |  | 10.72,10.72,10.72
SQDG-36:0 |  |  |  | 10.72,10.72,10.72
SQDG-38:3 |  |  |  | 10.72,10.72,10.72
SQDG-42:11 |  |  |  | 10.72,10.72,10.72
SQDG-34:2 |  |  |  | 10.73,10.73,10.73
SQDG-34:3 |  |  |  | 10.73,10.73,10.73
SQDG-34:4 |  |  |  | 10.73,10.73,10.73
PC-32:1 |  |  |  | 10.74,10.74,10.74
SQDG-30:0 |  |  |  | 10.75,10.75,10.75
SQDG-36:2 |  |  |  | 10.77,10.77,10.77
PC-31:1 |  |  |  | 10.80,10.80,10.80
PC-37:6 |  |  |  | 10.80,10.80,10.80
SQDG-34:9 |  |  |  | 10.81,10.81,10.81
PC-36:1 |  |  |  | 10.85,10.85,10.85
PC-33:6 |  |  |  | 10.89,10.89,10.89
PC-32:6 |  |  |  | 10.91,10.91,10.91
DGCC-31:1 |  |  |  | 10.92,10.92,10.92
PE-DEG-27:4 |  |  |  | 10.94,10.94,10.94
PC-35:1 |  |  |  | 10.95,10.95,10.95
PE-DAG/AEG-35:1 |  |  |  | 10.96,10.96,10.96
PC-35:0 |  |  |  | 10.97,10.97,10.97
PC-36:10 |  |  |  | 10.97,10.97,10.97
PE-DAG/AEG-31:1 |  |  |  | 10.98,10.98,10.98
PE-DAG/AEG-31:2 |  |  |  | 10.98,10.98,10.98
PC-34:4 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-29:1 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-31:0 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-38:6 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-40:7 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-44:12 |  |  |  | 10.99,10.99,10.99
PE-DEG-35:3 |  |  |  | 10.99,10.99,10.99
PE-DAG/AEG-34:1 |  |  |  | 11.00,11.00,11.00
PE-DEG-24:3 |  |  |  | 11.01,11.01,11.01
PE-DAG/AEG-35:4 |  |  |  | 11.02,11.02,11.02
PC-33:5 |  |  |  | 11.04,11.04,11.04
PC-33:0 |  |  |  | 11.05,11.05,11.05
PE-DEG-30:0 |  |  |  | 11.15,11.15,11.15
SQDG-30:1 |  |  |  | 11.20,11.20,11.20
PE-DAG/AEG-33:1 |  |  |  | 11.21,11.21,11.21
SQDG-30:2 |  |  |  | 11.47,11.47,11.47
2Gly-GDGT-2 |  |  |  | 11.54,11.54,11.54
2Gly-OH-GDGT-2 |  |  |  | 11.54,11.54,11.54
SQDG-26:0 |  |  |  | 11.61,11.61,11.61
SQDG-24:0 |  |  |  | 11.63,11.63,11.63
2Gly-OH-GDGT-0 |  |  |  | 11.66,11.66,11.66
DGCC-22:4 |  |  |  | 11.73,11.73,11.73
DGCC-42:6 |  |  |  | 11.79,11.79,11.79
DGDG-34:1 |  |  |  | 11.80,11.80,11.80
DGCC-24:2 |  |  |  | 11.82,11.82,11.82
DGCC-38:6 |  |  |  | 11.86,11.86,11.86
DGDG-32:1 |  |  |  | 11.91,11.91,11.91
DGCC-36:6 |  |  |  | 11.93,11.93,11.93
DGDG-34:6 |  |  |  | 11.93,11.93,11.93
DGDG-34:7 |  |  |  | 11.93,11.93,11.93
DGDG-32:0 |  |  |  | 11.94,11.94,11.94
DGDG-34:4 |  |  |  | 11.94,11.94,11.94
DGDG-35:3 |  |  |  | 11.94,11.94,11.94
DGDG-35:2 |  |  |  | 11.95,11.95,11.95
DGDG-34:3 |  |  |  | 11.97,11.97,11.97
2Gly-GDGT-0 |  |  |  | 12.02,12.02,12.02
Gly-Hp-BDGT-5 |  |  |  | 12.03,12.03,12.03
2Gly-OH-GDGT-1 |  |  |  | 12.08,12.08,12.08
DGDG-34:5 |  |  |  | 12.08,12.08,12.08
Gly-Hp-BDGT-3 |  |  |  | 12.08,12.08,12.08
DGDG-30:2 |  |  |  | 12.17,12.17,12.17
Gly-Hp-BDGT-4 |  |  |  | 12.19,12.19,12.19
DGDG-32:5 |  |  |  | 12.20,12.20,12.20
DGDG-32:6 |  |  |  | 12.21,12.21,12.21
DGDG-32:2 |  |  |  | 12.24,12.24,12.24
DGDG-31:1 |  |  |  | 12.34,12.34,12.34
DGCC-17:0 |  |  |  | 13.03,13.03,13.03
HPH-GDGT-1 |  |  |  | 3.04,3.04,3.04