## heet1_QEF1624_OG31_T3-55-0-3_SC
Sample Report
Data File: | QEF1624_OG31_T3-55-0-3_SC |  |  | Tune Report Date: |  | Tune report not found
Method: | Known_IPLs_Marine_11_14_2018_Known_IPLs_Marine_11_14_2018 |  |  | Acquisition Date: |  | 2018-07-31 23:14
| Known_IPLs_Marine_11_14_2018 |  |  | Cali File Date:
Cali File: | Known_IPLs_Marine_11_14_2018.calx |  |  | Operator ID: |  | Thermo
Sample ID: | 1 |  |  | Instrument ID: |  | QEFocus
Diln Factor: | 1 |  |  | Vial Number: |  | RC2
Comments:
m/z 653.681 | [6 empty] | Composite:
ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
0.87 | m/z 653.681 | 717 | N/A |  |  |  | N/A
m/z 777.551 | [6 empty] | Composite:
MGDG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 777.551 |  | N/A
m/z 549.363 | [6 empty] | Composite:
MGDG-19:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
2.79 | m/z 549.363 |  | N/A |  |  |  | 0.00
m/z 1703.371 | [6 empty] | Composite:
HPH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1703.371 |  | N/A
m/z 1491.399 | [6 empty] | Composite:
Gly-PDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1491.399 |  | N/A
m/z 775.535 | [6 empty] | Composite:
MGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.19 | m/z 775.535 |  | N/A |  |  |  | 0.00
m/z 772.593 | [6 empty] | Composite:
MGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.593 |  | N/A
m/z 1455.305 | [6 empty] | Composite:
Gly-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1455.305 |  | N/A
m/z 771.504 | [6 empty] | Composite:
MGDG-36:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 771.504 |  | N/A
m/z 1463.368 | [6 empty] | Composite:
Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.28 | m/z 1463.368 |  | N/A |  |  |  | 0.00
m/z 769.489 | [6 empty] | Composite:
MGDG-36:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 769.489 |  | N/A
m/z 718.546 | [6 empty] | Composite:
MGDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.41 | m/z 718.546 | 509994 | N/A |  |  |  | N/A
m/z 784.499 | [6 empty] | Composite:
MGDG-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.47 | m/z 784.499 |  | N/A |  |  |  | 0.00
m/z 1459.336 | [6 empty] | Composite:
Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1459.336 |  | N/A
m/z 1461.352 | [6 empty] | Composite:
Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.39 | m/z 1461.352 |  | N/A |  |  |  | 0.00
m/z 692.531 | [6 empty] | Composite:
MGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.49 | m/z 692.531 | 9574968 | N/A |  |  |  | N/A
m/z 1477.347 | [6 empty] | Composite:
Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1477.347 |  | N/A
m/z 747.504 | [6 empty] | Composite:
MGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.48 | m/z 747.504 | 1601 | N/A |  |  |  | N/A
m/z 779.567 | [6 empty] | Composite:
MGDG-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 779.567 |  | N/A
m/z 749.517 | [6 empty] | Composite:
MGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.58 | m/z 749.517 |  | N/A |  |  |  | 0.00
m/z 743.473 | [6 empty] | Composite:
MGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 743.473 |  | N/A
m/z 800.625 | [6 empty] | Composite:
MGDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.51 | m/z 800.625 | 1651 | N/A |  |  |  | N/A
m/z 814.640 | [6 empty] | Composite:
MGDG-37:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.61 | m/z 814.640 |  | N/A |  |  |  | 0.00
m/z 742.546 | [6 empty] | Composite:
MGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 742.546 |  | N/A
m/z 1695.309 | [6 empty] | Composite:
HPH-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1695.309 |  | N/A
m/z 760.593 | [6 empty] | Composite:
MGDG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.56 | m/z 760.593 | 682 | N/A |  |  |  | N/A
m/z 717.551 | [6 empty] | Composite:
MGDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 717.551 |  | N/A
m/z 729.551 | [6 empty] | Composite:
MGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.55 | m/z 729.551 |  | N/A |  |  |  | 0.00
m/z 715.535 | [6 empty] | Composite:
MGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 715.535 |  | N/A
m/z 787.629 | [6 empty] | Composite:
MGDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 787.629 |  | N/A
m/z 673.489 | [6 empty] | Composite:
MGDG-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.73 | m/z 673.489 | 551 | N/A |  |  |  | N/A
m/z 1457.321 | [6 empty] | Composite:
Gly-GDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1457.321 |  | N/A
m/z 699.504 | [6 empty] | Composite:
MGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.67 | m/z 699.504 | 71048 | N/A |  |  |  | N/A
m/z 697.489 | [6 empty] | Composite:
MGDG-30:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.66 | m/z 697.489 |  | N/A |  |  |  | 0.00
m/z 720.562 | [6 empty] | Composite:
MGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 720.562 |  | N/A
m/z 1705.387 | [6 empty] | Composite:
HPH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1705.387 |  | N/A
m/z 1701.356 | [6 empty] | Composite:
HPH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1701.356 |  | N/A
m/z 1453.289 | [6 empty] | Composite:
Gly-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1453.289 |  | N/A
m/z 853.676 | [6 empty] | Composite:
MGDG-41:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 853.676 |  | N/A
m/z 659.473 | [6 empty] | Composite:
MGDG-27:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 659.473 |  | N/A
m/z 619.442 | [6 empty] | Composite:
MGDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 619.442 |  | N/A
m/z 1479.363 | [6 empty] | Composite:
Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1479.363 |  | N/A
m/z 1471.300 | [6 empty] | Composite:
Gly-OH-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1471.300 |  | N/A
m/z 586.431 | [6 empty] | Composite:
Gly-Cer-22:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
6.03 | m/z 586.431 |  | N/A |  |  |  | 0.00
m/z 607.296 | [6 empty] | Composite:
Gly-dGly-DAG-13:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 607.296 |  | N/A
m/z 635.327 | [6 empty] | Composite:
Gly-dGly-DAG-15:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 635.327 |  | N/A
m/z 592.384 | [6 empty] | Composite:
Gly-Cer-25:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 592.384 |  | N/A
m/z 822.718 | [6 empty] | Composite:
DGTS-40:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.56 | m/z 822.718 |  | N/A |  |  |  | 0.00
m/z 784.606 | [6 empty] | Composite:
DGTS-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 784.606 |  | N/A
m/z 564.353 | [6 empty] | Composite:
Gly-Cer-21:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.65 | m/z 564.353 |  | N/A |  |  |  | 0.00
m/z 728.603 | [6 empty] | Composite:
1-GLC-CER
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 728.603 |  | N/A
m/z 758.593 | [6 empty] | Composite:
DGTS-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 758.593 |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.624 |  | N/A
m/z 746.591 | [6 empty] | Composite:
DGTS-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.66 | m/z 746.591 |  | N/A |  |  |  | 0.00
m/z 736.609 | [6 empty] | Composite:
DGTS-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.74 | m/z 736.609 | 46180 | N/A |  |  |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.624 |  | N/A
m/z 710.593 | [6 empty] | Composite:
DGTS-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 710.593 |  | N/A
m/z 772.609 | [6 empty] | Composite:
DGTS-37:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.609 |  | N/A
m/z 754.562 | [6 empty] | Composite:
DGTS-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.68 | m/z 754.562 |  | N/A |  |  |  | 0.00
m/z 712.609 | [6 empty] | Composite:
DGTS
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.76 | m/z 712.609 | 1931783 | N/A |  |  |  | N/A
m/z 732.577 | [6 empty] | Composite:
DGTS-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 732.577 |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTS-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.73 | m/z 682.562 | 680 | N/A |  |  |  | N/A
m/z 756.577 | [6 empty] | Composite:
DGTS-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 756.577 |  | N/A
m/z 698.593 | [6 empty] | Composite:
DGTS-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.78 | m/z 698.593 | 999722 | N/A |  |  |  | N/A
m/z 738.624 | [6 empty] | Composite:
DGTS-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.71 | m/z 738.624 | 83790 | N/A |  |  |  | N/A
m/z 670.562 | [6 empty] | Composite:
DGTS-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.85 | m/z 670.562 | 1913910 | N/A |  |  |  | N/A
m/z 734.593 | [6 empty] | Composite:
DGTS-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 734.593 |  | N/A
m/z 740.640 | [6 empty] | Composite:
DGTS-34:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 740.640 | 932681 | N/A |  |  |  | N/A
m/z 750.624 | [6 empty] | Composite:
DGTS-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.86 | m/z 750.624 |  | N/A |  |  |  | 0.00
m/z 808.702 | [6 empty] | Composite:
DGTS-39:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.702 |  | N/A
m/z 654.530 | [6 empty] | Composite:
DGTS-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 654.530 |  | N/A
m/z 778.656 | [6 empty] | Composite:
DGTS-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 778.656 |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTS-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.81 | m/z 684.577 | 1728960 | N/A |  |  |  | N/A
m/z 760.609 | [6 empty] | Composite:
DGTS-36:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.87 | m/z 760.609 | 9567 | N/A |  |  |  | N/A
m/z 730.562 | [6 empty] | Composite:
DGTS-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.562 |  | N/A
m/z 728.546 | [6 empty] | Composite:
DGTS-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.85 | m/z 728.546 |  | N/A |  |  |  | 0.00
m/z 656.546 | [6 empty] | Composite:
DGTS-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.87 | m/z 656.546 | 3086740 | N/A |  |  |  | N/A
m/z 712.609 | [6 empty] | Composite:
DGTS-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 712.609 |  | N/A
m/z 794.687 | [6 empty] | Composite:
DGTS-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 794.687 |  | N/A
m/z 624.483 | [6 empty] | Composite:
DGTS-26:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 624.483 |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTS-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.89 | m/z 708.577 | 711 | N/A |  |  |  | N/A
m/z 712.515 | [6 empty] | Composite:
DGTS-34:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.89 | m/z 712.515 | 1437 | N/A |  |  |  | N/A
m/z 642.530 | [6 empty] | Composite:
DGTS-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.9 | m/z 642.530 | 690258 | N/A |  |  |  | N/A
m/z 706.562 | [6 empty] | Composite:
DGTS-32:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 706.562 |  | N/A
m/z 628.515 | [6 empty] | Composite:
DGTS-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.94 | m/z 628.515 | 408561 | N/A |  |  |  | N/A
m/z 668.546 | [6 empty] | Composite:
DGTS-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.03 | m/z 668.546 |  | N/A |  |  |  | 0.00
m/z 770.593 | [6 empty] | Composite:
DGTS-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.06 | m/z 770.593 |  | N/A |  |  |  | 0.00
m/z 704.546 | [6 empty] | Composite:
DGTS-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.01 | m/z 704.546 | 62266 | N/A |  |  |  | N/A
m/z 639.423 | [6 empty] | Composite:
PG-DAG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.1 | m/z 639.423 | 2824 | N/A |  |  |  | N/A
m/z 780.671 | [6 empty] | Composite:
DGTS-37:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 780.671 |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTS-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 752.640 |  | N/A
m/z 696.577 | [6 empty] | Composite:
DGTS-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.19 | m/z 696.577 |  | N/A |  |  |  | 0.00
m/z 714.624 | [6 empty] | Composite:
DGTS-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.14 | m/z 714.624 |  | N/A |  |  |  | 0.00
m/z 760.585 | [6 empty] | Composite:
PDME-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.33 | m/z 760.585 |  | N/A |  |  |  | 0.00
m/z 614.499 | [6 empty] | Composite:
DGTS-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 614.499 |  | N/A
m/z 720.554 | [6 empty] | Composite:
C16PDME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.41 | m/z 720.554 | 799688 | N/A |  |  |  | N/A
m/z 628.515 | [6 empty] | Composite:
DGTA-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 628.515 |  | N/A
m/z 600.483 | [6 empty] | Composite:
DGTA-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 600.483 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PDME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.49 | m/z 692.522 | 3676253 | N/A |  |  |  | N/A
m/z 614.499 | [6 empty] | Composite:
DGTA-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 614.499 |  | N/A
m/z 710.593 | [6 empty] | Composite:
DGTA-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 710.593 |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTA-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.39 | m/z 708.577 |  | N/A |  |  |  | 0.00
m/z 724.609 | [6 empty] | Composite:
DGTA-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 724.609 |  | N/A
m/z 730.562 | [6 empty] | Composite:
DGTA-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.48 | m/z 730.562 | 1533 | N/A |  |  |  | N/A
m/z 786.622 | [6 empty] | Composite:
DGTA-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.622 |  | N/A
m/z 784.609 | [6 empty] | Composite:
DGTA-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.56 | m/z 784.609 |  | N/A |  |  |  | 0.00
m/z 756.577 | [6 empty] | Composite:
DGTA-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 756.577 |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTA-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 752.640 |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTA-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.624 |  | N/A
m/z 830.593 | [6 empty] | Composite:
DGTA-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 830.593 |  | N/A
m/z 858.624 | [6 empty] | Composite:
DGTA-44:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 858.624 |  | N/A
m/z 856.609 | [6 empty] | Composite:
DGTA-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 856.609 |  | N/A
m/z 796.702 | [6 empty] | Composite:
DGTA-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.55 | m/z 796.702 | 3273 | N/A |  |  |  | N/A
m/z 810.718 | [6 empty] | Composite:
DGTA-39:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 810.718 |  | N/A
m/z 812.556 | [6 empty] | Composite:
DGTA-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.63 | m/z 812.556 | 4668 | N/A |  |  |  | N/A
m/z 740.595 | [6 empty] | Composite:
PME-DEG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 740.595 |  | N/A
m/z 760.606 | [6 empty] | Composite:
DGTA-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 760.606 |  | N/A
m/z 745.501 | [6 empty] | Composite:
PG-DAG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 745.501 |  | N/A
m/z 558.436 | [6 empty] | Composite:
DGTA-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 558.436 |  | N/A
m/z 736.609 | [6 empty] | Composite:
DGTA-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.51 | m/z 736.609 | 436 | N/A |  |  |  | N/A
m/z 730.538 | [6 empty] | Composite:
PME-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.62 | m/z 730.538 | 281652 | N/A |  |  |  | N/A
m/z 688.489 | [6 empty] | Composite:
C16PA
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.66 | m/z 688.489 | 425 | N/A |  |  |  | N/A
m/z 732.577 | [6 empty] | Composite:
DGTA-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 732.577 |  | N/A
m/z 718.538 | [6 empty] | Composite:
PME-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.65 | m/z 718.538 | 1827644 | N/A |  |  |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTA-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 684.577 |  | N/A
m/z 706.538 | [6 empty] | Composite:
C16PME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.69 | m/z 706.538 | 729565 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
C16-PE
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.72 | m/z 692.522 | 784971 | N/A |  |  |  | N/A
m/z 530.405 | [6 empty] | Composite:
DGTS-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.62 | m/z 530.405 |  | N/A |  |  |  | 0.00
m/z 678.507 | [6 empty] | Composite:
PME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.76 | m/z 678.507 | 2909407 | N/A |  |  |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTA-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 682.562 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PME-DAG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.72 | m/z 692.522 | 759885 | N/A |  |  |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.85 | m/z 792.575 |  | N/A |  |  |  | 0.00
m/z 670.562 | [6 empty] | Composite:
DGTA-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.83 | m/z 670.562 | 352072 | N/A |  |  |  | N/A
m/z 710.548 | [6 empty] | Composite:
PME-DEG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 710.548 |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.85 | m/z 792.575 |  | N/A |  |  |  | 0.00
m/z 656.429 | [6 empty] | Composite:
PME-DAG-29:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 656.429 |  | N/A
m/z 785.530 | [6 empty] | Composite:
PG-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 785.530 | 44649 | N/A |  |  |  | N/A
m/z 656.546 | [6 empty] | Composite:
DGTA-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.89 | m/z 656.546 | 357081 | N/A |  |  |  | N/A
m/z 778.559 | [6 empty] | Composite:
PG-DAG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.88 | m/z 778.559 | 6128 | N/A |  |  |  | N/A
m/z 764.544 | [6 empty] | Composite:
PG-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.96 | m/z 764.544 | 656065 | N/A |  |  |  | N/A
m/z 693.470 | [6 empty] | Composite:
PG-DAG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 693.470 |  | N/A
m/z 762.528 | [6 empty] | Composite:
PG-DAG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.95 | m/z 762.528 | 5745 | N/A |  |  |  | N/A
m/z 745.499 | [6 empty] | Composite:
C16-PG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10 | m/z 745.499 | 249439 | N/A |  |  |  | N/A
m/z 552.366 | [6 empty] | Composite:
PME-DAG-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 552.366 |  | N/A
m/z 789.564 | [6 empty] | Composite:
PG-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 789.564 |  | N/A |  |  |  | 0.00
m/z 738.528 | [6 empty] | Composite:
PG-DAG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.99 | m/z 738.528 | 108144 | N/A |  |  |  | N/A
m/z 757.574 | [6 empty] | Composite:
PG-DEG-37:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.07 | m/z 757.574 |  | N/A |  |  |  | 0.00
m/z 740.544 | [6 empty] | Composite:
PG-DAG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10 | m/z 740.544 | 557758 | N/A |  |  |  | N/A
m/z 786.601 | [6 empty] | Composite:
PME-DAG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.95 | m/z 786.601 |  | N/A |  |  |  | 0.00
m/z 558.392 | [6 empty] | Composite:
PE-DEG-25:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 558.392 |  | N/A
m/z 752.544 | [6 empty] | Composite:
PG-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.97 | m/z 752.544 | 1811780 | N/A |  |  |  | N/A
m/z 769.501 | [6 empty] | Composite:
PG-DAG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 769.501 |  | N/A
m/z 781.513 | [6 empty] | Composite:
SQDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.14 | m/z 781.513 |  | N/A |  |  |  | 0.00
m/z 678.580 | [6 empty] | Composite:
PME-DEG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 678.580 |  | N/A
m/z 772.585 | [6 empty] | Composite:
PME-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.08 | m/z 772.585 |  | N/A |  |  |  | 0.00
m/z 800.522 | [6 empty] | Composite:
PC-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.22 | m/z 800.522 | 609 | N/A |  |  |  | N/A
m/z 834.540 | [6 empty] | Composite:
SQ-DAG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 834.540 |  | N/A
m/z 818.736 | [6 empty] | Composite:
PC-ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 818.736 |  | N/A
m/z 775.596 | [6 empty] | Composite:
PME-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 775.596 |  | N/A
m/z 776.689 | [6 empty] | Composite:
PE-AR
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.38 | m/z 776.689 | 585319 | N/A |  |  |  | N/A
m/z 810.540 | [6 empty] | Composite:
SQDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 810.540 |  | N/A
m/z 874.726 | [6 empty] | Composite:
C21-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.51 | m/z 874.726 | 11248 | N/A |  |  |  | N/A
m/z 841.595 | [6 empty] | Composite:
PG-DAG-41:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 841.595 |  | N/A
m/z 795.529 | [6 empty] | Composite:
SQDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 795.529 |  | N/A
m/z 806.569 | [6 empty] | Composite:
PC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.55 | m/z 806.569 |  | N/A |  |  |  | 0.00
m/z 824.520 | [6 empty] | Composite:
PC-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.6 | m/z 824.520 | 50578 | N/A |  |  |  | N/A
m/z 742.619 | [6 empty] | Composite:
DGCC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.53 | m/z 742.619 | 1734225 | N/A |  |  |  | N/A
m/z 878.569 | [6 empty] | Composite:
PC-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.58 | m/z 878.569 | 868 | N/A |  |  |  | N/A
m/z 822.601 | [6 empty] | Composite:
PC-39:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 822.601 |  | N/A
m/z 850.536 | [6 empty] | Composite:
PC-40:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 850.536 |  | N/A
m/z 852.554 | [6 empty] | Composite:
PC-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.52 | m/z 852.554 | 960 | N/A |  |  |  | N/A
m/z 813.482 | [6 empty] | Composite:
SQDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 813.482 |  | N/A
m/z 826.538 | [6 empty] | Composite:
PC-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.57 | m/z 826.538 | 33527 | N/A |  |  |  | N/A
m/z 808.585 | [6 empty] | Composite:
PC-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.585 |  | N/A
m/z 742.536 | [6 empty] | Composite:
PC-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 742.536 |  | N/A
m/z 780.554 | [6 empty] | Composite:
PC-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 780.554 |  | N/A
m/z 775.621 | [6 empty] | Composite:
PG-DEG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.71 | m/z 775.621 |  | N/A |  |  |  | 0.00
m/z 734.569 | [6 empty] | Composite:
PC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.71 | m/z 734.569 | 1440927 | N/A |  |  |  | N/A
m/z 734.569 | [6 empty] | Composite:
C16-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.71 | m/z 734.569 | 1440927 | N/A |  |  |  | N/A
m/z 728.603 | [6 empty] | Composite:
DGCC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.57 | m/z 728.603 | 11125037 | N/A |  |  |  | N/A
m/z 756.493 | [6 empty] | Composite:
SQDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.62 | m/z 756.493 | 1792815 | N/A |  |  |  | N/A
m/z 821.544 | [6 empty] | Composite:
SQDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.64 | m/z 821.544 | 675 | N/A |  |  |  | N/A
m/z 753.482 | [6 empty] | Composite:
SQDG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 753.482 |  | N/A
m/z 943.560 | [6 empty] | Composite:
SQDG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.61 | m/z 943.560 |  | N/A |  |  |  | 0.00
m/z 686.557 | [6 empty] | Composite:
DGCC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 686.557 | 2264220 | N/A |  |  |  | N/A
m/z 672.541 | [6 empty] | Composite:
DGCC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.74 | m/z 672.541 | 4774249 | N/A |  |  |  | N/A
m/z 678.507 | [6 empty] | Composite:
PC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 678.507 |  | N/A
m/z 744.554 | [6 empty] | Composite:
PC-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.74 | m/z 744.554 | 4523 | N/A |  |  |  | N/A
m/z 608.501 | [6 empty] | Composite:
PE-DEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 608.501 |  | N/A
m/z 785.450 | [6 empty] | Composite:
SQDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 785.450 |  | N/A
m/z 851.591 | [6 empty] | Composite:
SQDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 851.591 |  | N/A
m/z 873.576 | [6 empty] | Composite:
SQDG-38:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 873.576 |  | N/A
m/z 871.560 | [6 empty] | Composite:
SQDG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.67 | m/z 871.560 | 580 | N/A |  |  |  | N/A
m/z 917.544 | [6 empty] | Composite:
SQDG-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 917.544 |  | N/A
m/z 819.529 | [6 empty] | Composite:
SQDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 819.529 |  | N/A
m/z 839.495 | [6 empty] | Composite:
SQDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 839.495 |  | N/A
m/z 815.497 | [6 empty] | Composite:
SQDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 815.497 |  | N/A
m/z 732.554 | [6 empty] | Composite:
PC-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.81 | m/z 732.554 |  | N/A |  |  |  | 0.00
m/z 706.538 | [6 empty] | Composite:
PC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.78 | m/z 706.538 | 2858313 | N/A |  |  |  | N/A
m/z 746.569 | [6 empty] | Composite:
PC-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.68 | m/z 746.569 | 270791 | N/A |  |  |  | N/A
m/z 789.479 | [6 empty] | Composite:
SQDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.78 | m/z 789.479 | 533 | N/A |  |  |  | N/A
m/z 847.560 | [6 empty] | Composite:
SQDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 847.560 |  | N/A
m/z 700.572 | [6 empty] | Composite:
DGCC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 700.572 |  | N/A
m/z 718.538 | [6 empty] | Composite:
PC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 718.538 |  | N/A
m/z 792.554 | [6 empty] | Composite:
PC-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.82 | m/z 692.522 | 3451141 | N/A |  |  |  | N/A
m/z 791.497 | [6 empty] | Composite:
SQDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.83 | m/z 791.497 | 2594 | N/A |  |  |  | N/A
m/z 805.419 | [6 empty] | Composite:
SQDG-34:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 805.419 |  | N/A
m/z 658.525 | [6 empty] | Composite:
DGCC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.79 | m/z 658.525 | 1921287 | N/A |  |  |  | N/A
m/z 788.616 | [6 empty] | Composite:
PC-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.9 | m/z 788.616 | 622 | N/A |  |  |  | N/A
m/z 644.510 | [6 empty] | Composite:
DGCC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.86 | m/z 644.510 | 666003 | N/A |  |  |  | N/A
m/z 736.491 | [6 empty] | Composite:
PC-33:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 736.491 |  | N/A |  |  |  | 0.00
m/z 664.491 | [6 empty] | Composite:
PC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.92 | m/z 664.491 | 3231098 | N/A |  |  |  | N/A
m/z 739.502 | [6 empty] | Composite:
PC-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.92 | m/z 739.502 | 1900 | N/A |  |  |  | N/A
m/z 712.572 | [6 empty] | Composite:
DGCC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.96 | m/z 712.572 | 876 | N/A |  |  |  | N/A
m/z 744.554 | [6 empty] | Composite:
PE-DAG/AEG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 744.554 | 624274 | N/A |  |  |  | N/A
m/z 586.423 | [6 empty] | Composite:
PE-DEG-27:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 586.423 |  | N/A
m/z 762.601 | [6 empty] | Composite:
PC-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 762.601 |  | N/A
m/z 732.554 | [6 empty] | Composite:
PE-DAG/AEG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.92 | m/z 732.554 | 360318 | N/A |  |  |  | N/A
m/z 786.598 | [6 empty] | Composite:
PC-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 786.598 |  | N/A
m/z 770.476 | [6 empty] | Composite:
PC-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 770.476 | 11225 | N/A |  |  |  | N/A
m/z 676.491 | [6 empty] | Composite:
PE-DAG/AEG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 676.491 |  | N/A
m/z 674.476 | [6 empty] | Composite:
PE-DAG/AEG-31:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.96 | m/z 674.476 | 1219 | N/A |  |  |  | N/A
m/z 702.507 | [6 empty] | Composite:
PE-DAG/AEG-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.03 | m/z 702.507 | 7682 | N/A |  |  |  | N/A
m/z 754.538 | [6 empty] | Composite:
PC-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 754.538 | 10268 | N/A |  |  |  | N/A
m/z 648.460 | [6 empty] | Composite:
PE-DAG/AEG-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.03 | m/z 648.460 | 465 | N/A |  |  |  | N/A
m/z 664.491 | [6 empty] | Composite:
PE-DAG/AEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.92 | m/z 664.491 | 3197100 | N/A |  |  |  | N/A
m/z 662.476 | [6 empty] | Composite:
PE-DAG/AEG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 662.476 |  | N/A
m/z 678.507 | [6 empty] | Composite:
PE-DAG/AEG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 678.507 |  | N/A
m/z 690.507 | [6 empty] | Composite:
PE-DAG/AEG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.06 | m/z 690.507 | 188895 | N/A |  |  |  | N/A
m/z 688.491 | [6 empty] | Composite:
PE-DAG/AEG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.06 | m/z 688.491 | 10733 | N/A |  |  |  | N/A
m/z 764.522 | [6 empty] | Composite:
PE-DAG/AEG-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 764.522 |  | N/A
m/z 792.554 | [6 empty] | Composite:
PE-DAG/AEG-40:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 790.538 | [6 empty] | Composite:
PE-DAG/AEG-40:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 790.538 |  | N/A
m/z 836.522 | [6 empty] | Composite:
PE-DAG/AEG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.03 | m/z 836.522 | 1096 | N/A |  |  |  | N/A
m/z 700.564 | [6 empty] | Composite:
PE-DEG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 700.564 |  | N/A
m/z 716.522 | [6 empty] | Composite:
PE-DAG/AEG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.98 | m/z 716.522 | 2296707 | N/A |  |  |  | N/A
m/z 650.476 | [6 empty] | Composite:
PE-DAG/AEG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.98 | m/z 650.476 | 2131755 | N/A |  |  |  | N/A
m/z 706.538 | [6 empty] | Composite:
PE-DAG/AEG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.06 | m/z 706.538 | 81459 | N/A |  |  |  | N/A
m/z 546.392 | [6 empty] | Composite:
PE-DEG-24:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.392 |  | N/A
m/z 726.507 | [6 empty] | Composite:
PE-DAG/AEG-35:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11 | m/z 726.507 | 327987 | N/A |  |  |  | N/A
m/z 636.460 | [6 empty] | Composite:
PE-DAG/AEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.98 | m/z 636.460 |  | N/A |  |  |  | 0.00
m/z 730.538 | [6 empty] | Composite:
PE-DAG/AEG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.01 | m/z 730.538 |  | N/A |  |  |  | 0.00
m/z 738.507 | [6 empty] | Composite:
PC-33:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.98 | m/z 738.507 | 105303 | N/A |  |  |  | N/A
m/z 748.585 | [6 empty] | Composite:
PC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.13 | m/z 748.585 | 526 | N/A |  |  |  | N/A
m/z 636.533 | [6 empty] | Composite:
PE-DEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.09 | m/z 636.533 | 25463 | N/A |  |  |  | N/A
m/z 765.482 | [6 empty] | Composite:
SQDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.14 | m/z 765.482 |  | N/A |  |  |  | 0.00
m/z 622.423 | [6 empty] | Composite:
PC-DEG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 622.423 |  | N/A
m/z 704.522 | [6 empty] | Composite:
PE-DAG/AEG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 704.522 |  | N/A
m/z 650.476 | [6 empty] | Composite:
PC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 650.476 |  | N/A
m/z 780.493 | [6 empty] | Composite:
SQDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.45 | m/z 780.493 | 27975 | N/A |  |  |  | N/A
m/z 1621.389 | [6 empty] | Composite:
2Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.51 | m/z 1621.389 |  | N/A |  |  |  | 0.00
m/z 1637.384 | [6 empty] | Composite:
2Gly-OH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1637.384 |  | N/A
m/z 711.435 | [6 empty] | Composite:
SQDG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 711.435 |  | N/A
m/z 683.403 | [6 empty] | Composite:
SQDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 683.403 |  | N/A
m/z 1641.415 | [6 empty] | Composite:
2Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1641.415 |  | N/A
m/z 580.384 | [6 empty] | Composite:
DGCC-22:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 580.384 |  | N/A
m/z 937.588 | [6 empty] | Composite:
DGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.73 | m/z 937.588 |  | N/A |  |  |  | 0.00
m/z 844.572 | [6 empty] | Composite:
DGCC-42:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 844.572 |  | N/A
m/z 936.662 | [6 empty] | Composite:
DGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 936.662 |  | N/A
m/z 612.447 | [6 empty] | Composite:
DGCC-24:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.79 | m/z 612.447 |  | N/A |  |  |  | 0.00
m/z 800.603 | [6 empty] | Composite:
DGCC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 800.603 |  | N/A
m/z 669.388 | [6 empty] | Composite:
SQDG-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 669.388 |  | N/A
m/z 908.631 | [6 empty] | Composite:
DGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 908.631 |  | N/A
m/z 772.572 | [6 empty] | Composite:
DGCC-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.572 |  | N/A
m/z 926.584 | [6 empty] | Composite:
DGDG-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.95 | m/z 926.584 |  | N/A |  |  |  | 0.00
m/z 907.541 | [6 empty] | Composite:
DGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 907.541 |  | N/A
m/z 910.646 | [6 empty] | Composite:
DGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.02 | m/z 910.646 | 28162 | N/A |  |  |  | N/A
m/z 917.620 | [6 empty] | Composite:
DGDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 917.620 |  | N/A
m/z 913.588 | [6 empty] | Composite:
DGDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 913.588 |  | N/A
m/z 929.620 | [6 empty] | Composite:
DGDG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 929.620 |  | N/A
m/z 931.635 | [6 empty] | Composite:
DGDG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 931.635 |  | N/A
m/z 915.604 | [6 empty] | Composite:
DGDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 915.604 |  | N/A
m/z 600.447 | [6 empty] | Composite:
DGCC-23:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 600.447 |  | N/A
m/z 1625.420 | [6 empty] | Composite:
2Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1625.420 |  | N/A
m/z 1659.368 | [6 empty] | Composite:
Gly-Hp-BDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1659.368 |  | N/A
m/z 1639.400 | [6 empty] | Composite:
2Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1639.400 |  | N/A
m/z 882.615 | [6 empty] | Composite:
DGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.04 | m/z 882.615 | 835079 | N/A |  |  |  | N/A
m/z 911.573 | [6 empty] | Composite:
DGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 911.573 |  | N/A
m/z 1663.400 | [6 empty] | Composite:
Gly-Hp-BDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1663.400 |  | N/A
m/z 1623.405 | [6 empty] | Composite:
2Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1623.405 |  | N/A
m/z 1645.389 | [6 empty] | Composite:
2Gly-PDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1645.389 |  | N/A
m/z 883.539 | [6 empty] | Composite:
DGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 883.539 |  | N/A
m/z 1661.384 | [6 empty] | Composite:
Gly-Hp-BDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1661.384 |  | N/A
m/z 883.541 | [6 empty] | Composite:
DGDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 883.541 |  | N/A
m/z 898.552 | [6 empty] | Composite:
DGDG-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 898.552 |  | N/A
m/z 885.557 | [6 empty] | Composite:
DGDG-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.17 | m/z 885.557 | 1823 | N/A |  |  |  | N/A
m/z 889.588 | [6 empty] | Composite:
DGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.18 | m/z 889.588 | 464 | N/A |  |  |  | N/A
m/z 524.371 | [6 empty] | Composite:
IS-PC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.29 | m/z 524.371 | 26329462 | N/A |  |  |  | N/A
m/z 837.557 | [6 empty] | Composite:
DGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.28 | m/z 837.557 |  | N/A |  |  |  | 0.00
m/z 524.371 | [6 empty] | Composite:
C16PAF
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.29 | m/z 524.371 | 26329307 | N/A |  |  |  | N/A
m/z 705.591 | [6 empty] | Composite:
PC-DEG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.32 | m/z 705.591 | 79125 | N/A |  |  |  | N/A
m/z 877.588 | [6 empty] | Composite:
DGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 877.588 |  | N/A
m/z 602.463 | [6 empty] | Composite:
DGCC-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 602.463 |  | N/A
m/z 574.431 | [6 empty] | Composite:
DGCC-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 574.431 |  | N/A
m/z 546.400 | [6 empty] | Composite:
DGCC-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.400 |  | N/A
m/z 518.369 | [6 empty] | Composite:
DGCC-17:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
13.01 | m/z 518.369 |  | N/A |  |  |  | 0.00
m/z 504.353 | [6 empty] | Composite:
DGCC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 504.353 |  | N/A
m/z 590.369 | [6 empty] | Composite:
DGCC-23:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 590.369 |  | N/A