## Sheet1_QEF1626_OG33_T3-9-0-3_SC
Sample Report
Data File: | QEF1626_OG33_T3-9-0-3_SC |  |  | Tune Report Date: |  | Tune report not found
Method: | Known_IPLs_Marine_11_14_2018_Known_IPLs_Marine_11_14_2018 |  |  | Acquisition Date: |  | 2018-08-01 00:27
| Known_IPLs_Marine_11_14_2018 |  |  | Cali File Date:
Cali File: | Known_IPLs_Marine_11_14_2018.calx |  |  | Operator ID: |  | Thermo
Sample ID: | 1 |  |  | Instrument ID: |  | QEFocus
Diln Factor: | 1 |  |  | Vial Number: |  | RC4
Comments:
m/z 653.681 | [6 empty] | Composite:
ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 653.681 |  | N/A
m/z 777.551 | [6 empty] | Composite:
MGDG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
2.59 | m/z 777.551 | 3501 | N/A |  |  |  | N/A
m/z 549.363 | [6 empty] | Composite:
MGDG-19:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 549.363 |  | N/A
m/z 1703.371 | [6 empty] | Composite:
HPH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1703.371 |  | N/A
m/z 1491.399 | [6 empty] | Composite:
Gly-PDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1491.399 |  | N/A
m/z 775.535 | [6 empty] | Composite:
MGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.28 | m/z 775.535 | 21206 | N/A |  |  |  | N/A
m/z 772.593 | [6 empty] | Composite:
MGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.23 | m/z 772.593 | 13140774 | N/A |  |  |  | N/A
m/z 1455.305 | [6 empty] | Composite:
Gly-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1455.305 |  | N/A
m/z 771.504 | [6 empty] | Composite:
MGDG-36:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.28 | m/z 771.504 | 101788 | N/A |  |  |  | N/A
m/z 1463.368 | [6 empty] | Composite:
Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1463.368 |  | N/A
m/z 769.489 | [6 empty] | Composite:
MGDG-36:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.31 | m/z 769.489 | 67640 | N/A |  |  |  | N/A
m/z 718.546 | [6 empty] | Composite:
MGDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.4 | m/z 718.546 | 1321733911 | N/A |  |  |  | N/A
m/z 784.499 | [6 empty] | Composite:
MGDG-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.36 | m/z 784.499 | 966784 | N/A |  |  |  | N/A
m/z 1459.336 | [6 empty] | Composite:
Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1459.336 |  | N/A
m/z 1461.352 | [6 empty] | Composite:
Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1461.352 |  | N/A
m/z 692.531 | [6 empty] | Composite:
MGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.52 | m/z 692.531 | 144517571 | N/A |  |  |  | N/A
m/z 1477.347 | [6 empty] | Composite:
Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1477.347 |  | N/A
m/z 747.504 | [6 empty] | Composite:
MGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.51 | m/z 747.504 | 60660 | N/A |  |  |  | N/A
m/z 779.567 | [6 empty] | Composite:
MGDG-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.49 | m/z 779.567 | 53472 | N/A |  |  |  | N/A
m/z 749.517 | [6 empty] | Composite:
MGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.52 | m/z 749.517 | 11364 | N/A |  |  |  | N/A
m/z 743.473 | [6 empty] | Composite:
MGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.47 | m/z 743.473 | 5119 | N/A |  |  |  | N/A
m/z 800.625 | [6 empty] | Composite:
MGDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.6 | m/z 800.625 | 3631301 | N/A |  |  |  | N/A
m/z 814.640 | [6 empty] | Composite:
MGDG-37:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.59 | m/z 814.640 | 689777 | N/A |  |  |  | N/A
m/z 742.546 | [6 empty] | Composite:
MGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 742.546 |  | N/A
m/z 1695.309 | [6 empty] | Composite:
HPH-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1695.309 |  | N/A
m/z 760.593 | [6 empty] | Composite:
MGDG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 760.593 |  | N/A
m/z 717.551 | [6 empty] | Composite:
MGDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.55 | m/z 717.551 |  | N/A |  |  |  | 0.00
m/z 729.551 | [6 empty] | Composite:
MGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 729.551 |  | N/A
m/z 715.535 | [6 empty] | Composite:
MGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 715.535 |  | N/A
m/z 787.629 | [6 empty] | Composite:
MGDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.58 | m/z 787.629 |  | N/A |  |  |  | 0.00
m/z 673.489 | [6 empty] | Composite:
MGDG-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 673.489 |  | N/A
m/z 1457.321 | [6 empty] | Composite:
Gly-GDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1457.321 |  | N/A
m/z 699.504 | [6 empty] | Composite:
MGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.69 | m/z 699.504 | 702100 | N/A |  |  |  | N/A
m/z 697.489 | [6 empty] | Composite:
MGDG-30:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 697.489 |  | N/A
m/z 720.562 | [6 empty] | Composite:
MGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
3.88 | m/z 720.562 | 19764893 | N/A |  |  |  | N/A
m/z 1705.387 | [6 empty] | Composite:
HPH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1705.387 |  | N/A
m/z 1701.356 | [6 empty] | Composite:
HPH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1701.356 |  | N/A
m/z 1453.289 | [6 empty] | Composite:
Gly-GDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1453.289 |  | N/A
m/z 853.676 | [6 empty] | Composite:
MGDG-41:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 853.676 |  | N/A
m/z 659.473 | [6 empty] | Composite:
MGDG-27:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 659.473 |  | N/A
m/z 619.442 | [6 empty] | Composite:
MGDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 619.442 |  | N/A
m/z 1479.363 | [6 empty] | Composite:
Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1479.363 |  | N/A
m/z 1471.300 | [6 empty] | Composite:
Gly-OH-GDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1471.300 |  | N/A
m/z 586.431 | [6 empty] | Composite:
Gly-Cer-22:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
5.98 | m/z 586.431 |  | N/A |  |  |  | 0.00
m/z 607.296 | [6 empty] | Composite:
Gly-dGly-DAG-13:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 607.296 |  | N/A
m/z 635.327 | [6 empty] | Composite:
Gly-dGly-DAG-15:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 635.327 |  | N/A
m/z 592.384 | [6 empty] | Composite:
Gly-Cer-25:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 592.384 |  | N/A
m/z 822.718 | [6 empty] | Composite:
DGTS-40:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.6 | m/z 822.718 | 798190 | N/A |  |  |  | N/A
m/z 784.606 | [6 empty] | Composite:
DGTS-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 784.606 |  | N/A
m/z 564.353 | [6 empty] | Composite:
Gly-Cer-21:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 564.353 |  | N/A
m/z 728.603 | [6 empty] | Composite:
1-GLC-CER
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.62 | m/z 728.603 | 119721 | N/A |  |  |  | N/A
m/z 758.593 | [6 empty] | Composite:
DGTS-36:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.66 | m/z 758.593 | 1897474 | N/A |  |  |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.61 | m/z 786.624 | 334176 | N/A |  |  |  | N/A
m/z 746.591 | [6 empty] | Composite:
DGTS-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 746.591 | 94448 | N/A |  |  |  | N/A
m/z 736.609 | [6 empty] | Composite:
DGTS-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 736.609 | 15060568 | N/A |  |  |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTS-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.61 | m/z 786.624 | 334176 | N/A |  |  |  | N/A
m/z 710.593 | [6 empty] | Composite:
DGTS-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.76 | m/z 710.593 | 32847902 | N/A |  |  |  | N/A
m/z 772.609 | [6 empty] | Composite:
DGTS-37:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.66 | m/z 772.609 | 1982 | N/A |  |  |  | N/A
m/z 754.562 | [6 empty] | Composite:
DGTS-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 754.562 | 596902 | N/A |  |  |  | N/A
m/z 712.609 | [6 empty] | Composite:
DGTS
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.77 | m/z 712.609 | 12683241 | N/A |  |  |  | N/A
m/z 732.577 | [6 empty] | Composite:
DGTS-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 732.577 | 5737666 | N/A |  |  |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTS-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.82 | m/z 682.562 | 36364087 | N/A |  |  |  | N/A
m/z 756.577 | [6 empty] | Composite:
DGTS-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.67 | m/z 756.577 | 1727346 | N/A |  |  |  | N/A
m/z 698.593 | [6 empty] | Composite:
DGTS-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.79 | m/z 698.593 | 18748208 | N/A |  |  |  | N/A
m/z 738.624 | [6 empty] | Composite:
DGTS-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 738.624 | 29526305 | N/A |  |  |  | N/A
m/z 670.562 | [6 empty] | Composite:
DGTS-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.75 | m/z 670.562 | 11924 | N/A |  |  |  | N/A
m/z 734.593 | [6 empty] | Composite:
DGTS-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.7 | m/z 734.593 | 5323753 | N/A |  |  |  | N/A
m/z 740.640 | [6 empty] | Composite:
DGTS-34:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.73 | m/z 740.640 | 3755317 | N/A |  |  |  | N/A
m/z 750.624 | [6 empty] | Composite:
DGTS-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.82 | m/z 750.624 |  | N/A |  |  |  | 0.00
m/z 808.702 | [6 empty] | Composite:
DGTS-39:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.702 |  | N/A
m/z 654.530 | [6 empty] | Composite:
DGTS-28:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.86 | m/z 654.530 | 36728770 | N/A |  |  |  | N/A
m/z 778.656 | [6 empty] | Composite:
DGTS-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 778.656 |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTS-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.82 | m/z 684.577 | 36155689 | N/A |  |  |  | N/A
m/z 760.609 | [6 empty] | Composite:
DGTS-36:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.81 | m/z 760.609 | 11615 | N/A |  |  |  | N/A
m/z 730.562 | [6 empty] | Composite:
DGTS-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.562 |  | N/A
m/z 728.546 | [6 empty] | Composite:
DGTS-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.87 | m/z 728.546 |  | N/A |  |  |  | 0.00
m/z 656.546 | [6 empty] | Composite:
DGTS-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.88 | m/z 656.546 | 125050177 | N/A |  |  |  | N/A
m/z 712.609 | [6 empty] | Composite:
DGTS-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.91 | m/z 712.609 |  | N/A |  |  |  | 0.00
m/z 794.687 | [6 empty] | Composite:
DGTS-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 794.687 |  | N/A
m/z 624.483 | [6 empty] | Composite:
DGTS-26:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.91 | m/z 624.483 | 2168 | N/A |  |  |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTS-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 708.577 |  | N/A
m/z 712.515 | [6 empty] | Composite:
DGTS-34:8
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.94 | m/z 712.515 |  | N/A |  |  |  | 0.00
m/z 642.530 | [6 empty] | Composite:
DGTS-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.92 | m/z 642.530 | 41486378 | N/A |  |  |  | N/A
m/z 706.562 | [6 empty] | Composite:
DGTS-32:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.93 | m/z 706.562 |  | N/A |  |  |  | 0.00
m/z 628.515 | [6 empty] | Composite:
DGTS-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
7.95 | m/z 628.515 | 30247215 | N/A |  |  |  | N/A
m/z 668.546 | [6 empty] | Composite:
DGTS-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 668.546 |  | N/A
m/z 770.593 | [6 empty] | Composite:
DGTS-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 770.593 |  | N/A
m/z 704.546 | [6 empty] | Composite:
DGTS-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 704.546 |  | N/A
m/z 639.423 | [6 empty] | Composite:
PG-DAG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.01 | m/z 639.423 | 1747 | N/A |  |  |  | N/A
m/z 780.671 | [6 empty] | Composite:
DGTS-37:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 780.671 |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTS-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.08 | m/z 752.640 |  | N/A |  |  |  | 0.00
m/z 696.577 | [6 empty] | Composite:
DGTS-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.13 | m/z 696.577 | 61067 | N/A |  |  |  | N/A
m/z 714.624 | [6 empty] | Composite:
DGTS-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.14 | m/z 714.624 |  | N/A |  |  |  | 0.00
m/z 760.585 | [6 empty] | Composite:
PDME-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.29 | m/z 760.585 | 126686 | N/A |  |  |  | N/A
m/z 614.499 | [6 empty] | Composite:
DGTS-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.28 | m/z 614.499 | 5158 | N/A |  |  |  | N/A
m/z 720.554 | [6 empty] | Composite:
C16PDME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.42 | m/z 720.554 | 475343 | N/A |  |  |  | N/A
m/z 628.515 | [6 empty] | Composite:
DGTA-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.38 | m/z 628.515 |  | N/A |  |  |  | 0.00
m/z 600.483 | [6 empty] | Composite:
DGTA-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.36 | m/z 600.483 | 8973 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
PDME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
8.5 | m/z 692.522 | 2201935 | N/A |  |  |  | N/A
m/z 614.499 | [6 empty] | Composite:
DGTA-25:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 614.499 |  | N/A
m/z 710.593 | [6 empty] | Composite:
DGTA-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 710.593 |  | N/A
m/z 708.577 | [6 empty] | Composite:
DGTA-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 708.577 |  | N/A
m/z 724.609 | [6 empty] | Composite:
DGTA-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 724.609 |  | N/A
m/z 730.562 | [6 empty] | Composite:
DGTA-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.562 |  | N/A
m/z 786.622 | [6 empty] | Composite:
DGTA-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.44 | m/z 786.622 | 76532 | N/A |  |  |  | N/A
m/z 784.609 | [6 empty] | Composite:
DGTA-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.45 | m/z 784.609 | 745933 | N/A |  |  |  | N/A
m/z 756.577 | [6 empty] | Composite:
DGTA-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.52 | m/z 756.577 | 312566 | N/A |  |  |  | N/A
m/z 752.640 | [6 empty] | Composite:
DGTA-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 752.640 |  | N/A
m/z 786.624 | [6 empty] | Composite:
DGTA-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.51 | m/z 786.624 | 13109 | N/A |  |  |  | N/A
m/z 830.593 | [6 empty] | Composite:
DGTA-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.55 | m/z 830.593 |  | N/A |  |  |  | 0.00
m/z 858.624 | [6 empty] | Composite:
DGTA-44:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 858.624 |  | N/A
m/z 856.609 | [6 empty] | Composite:
DGTA-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 856.609 |  | N/A
m/z 796.702 | [6 empty] | Composite:
DGTA-38:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.57 | m/z 796.702 | 78039 | N/A |  |  |  | N/A
m/z 810.718 | [6 empty] | Composite:
DGTA-39:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 810.718 |  | N/A
m/z 812.556 | [6 empty] | Composite:
DGTA-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.6 | m/z 812.556 | 688948 | N/A |  |  |  | N/A
m/z 740.595 | [6 empty] | Composite:
PME-DEG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 740.595 |  | N/A
m/z 760.606 | [6 empty] | Composite:
DGTA-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.53 | m/z 760.606 | 235512 | N/A |  |  |  | N/A
m/z 745.501 | [6 empty] | Composite:
PG-DAG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.6 | m/z 745.501 | 3668 | N/A |  |  |  | N/A
m/z 558.436 | [6 empty] | Composite:
DGTA-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.5 | m/z 558.436 | 692 | N/A |  |  |  | N/A
m/z 736.609 | [6 empty] | Composite:
DGTA-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.64 | m/z 736.609 | 7237323 | N/A |  |  |  | N/A
m/z 730.538 | [6 empty] | Composite:
PME-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.55 | m/z 730.538 | 90221 | N/A |  |  |  | N/A
m/z 688.489 | [6 empty] | Composite:
C16PA
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.64 | m/z 688.489 | 138704 | N/A |  |  |  | N/A
m/z 732.577 | [6 empty] | Composite:
DGTA-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.61 | m/z 732.577 | 1951956 | N/A |  |  |  | N/A
m/z 718.538 | [6 empty] | Composite:
PME-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.63 | m/z 718.538 | 249806 | N/A |  |  |  | N/A
m/z 684.577 | [6 empty] | Composite:
DGTA-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 684.577 |  | N/A
m/z 706.538 | [6 empty] | Composite:
C16PME
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.69 | m/z 706.538 | 294209 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
C16-PE
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.73 | m/z 692.522 | 1917320 | N/A |  |  |  | N/A
m/z 530.405 | [6 empty] | Composite:
DGTS-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.7 | m/z 530.405 |  | N/A |  |  |  | 0.00
m/z 678.507 | [6 empty] | Composite:
PME-DAG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.76 | m/z 678.507 | 5457720 | N/A |  |  |  | N/A
m/z 682.562 | [6 empty] | Composite:
DGTA-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.73 | m/z 682.562 | 32841295 | N/A |  |  |  | N/A
m/z 692.522 | [6 empty] | Composite:
PME-DAG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.73 | m/z 692.522 | 1917320 | N/A |  |  |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.83 | m/z 792.575 | 8676738 | N/A |  |  |  | N/A
m/z 670.562 | [6 empty] | Composite:
DGTA-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.85 | m/z 670.562 | 22915545 | N/A |  |  |  | N/A
m/z 710.548 | [6 empty] | Composite:
PME-DEG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.84 | m/z 710.548 | 8296 | N/A |  |  |  | N/A
m/z 792.575 | [6 empty] | Composite:
PG-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.83 | m/z 792.575 | 8676738 | N/A |  |  |  | N/A
m/z 656.429 | [6 empty] | Composite:
PME-DAG-29:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.88 | m/z 656.429 |  | N/A |  |  |  | 0.00
m/z 785.530 | [6 empty] | Composite:
PG-DAG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.87 | m/z 785.530 |  | N/A |  |  |  | 0.00
m/z 656.546 | [6 empty] | Composite:
DGTA-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.89 | m/z 656.546 | 34214307 | N/A |  |  |  | N/A
m/z 778.559 | [6 empty] | Composite:
PG-DAG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 778.559 | 917985 | N/A |  |  |  | N/A
m/z 764.544 | [6 empty] | Composite:
PG-DAG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 764.544 | 16256576 | N/A |  |  |  | N/A
m/z 693.470 | [6 empty] | Composite:
PG-DAG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.9 | m/z 693.470 |  | N/A |  |  |  | 0.00
m/z 762.528 | [6 empty] | Composite:
PG-DAG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.93 | m/z 762.528 | 1745765 | N/A |  |  |  | N/A
m/z 745.499 | [6 empty] | Composite:
C16-PG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10 | m/z 745.499 | 2782005 | N/A |  |  |  | N/A
m/z 552.366 | [6 empty] | Composite:
PME-DAG-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.98 | m/z 552.366 |  | N/A |  |  |  | 0.00
m/z 789.564 | [6 empty] | Composite:
PG-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 789.564 |  | N/A
m/z 738.528 | [6 empty] | Composite:
PG-DAG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.98 | m/z 738.528 | 12501982 | N/A |  |  |  | N/A
m/z 757.574 | [6 empty] | Composite:
PG-DEG-37:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.09 | m/z 757.574 |  | N/A |  |  |  | 0.00
m/z 740.544 | [6 empty] | Composite:
PG-DAG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10 | m/z 740.544 | 4904061 | N/A |  |  |  | N/A
m/z 786.601 | [6 empty] | Composite:
PME-DAG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.1 | m/z 786.601 | 5904 | N/A |  |  |  | N/A
m/z 558.392 | [6 empty] | Composite:
PE-DEG-25:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 558.392 |  | N/A
m/z 752.544 | [6 empty] | Composite:
PG-DAG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
9.97 | m/z 752.544 | 3086933 | N/A |  |  |  | N/A
m/z 769.501 | [6 empty] | Composite:
PG-DAG-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.06 | m/z 769.501 | 376649 | N/A |  |  |  | N/A
m/z 781.513 | [6 empty] | Composite:
SQDG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 781.513 |  | N/A
m/z 678.580 | [6 empty] | Composite:
PME-DEG-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 678.580 |  | N/A
m/z 772.585 | [6 empty] | Composite:
PME-DAG-37:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.12 | m/z 772.585 |  | N/A |  |  |  | 0.00
m/z 800.522 | [6 empty] | Composite:
PC-38:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.12 | m/z 800.522 |  | N/A |  |  |  | 0.00
m/z 834.540 | [6 empty] | Composite:
SQ-DAG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.3 | m/z 834.540 | 803149 | N/A |  |  |  | N/A
m/z 818.736 | [6 empty] | Composite:
PC-ARCHAEOL
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 818.736 |  | N/A
m/z 775.596 | [6 empty] | Composite:
PME-DAG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.34 | m/z 775.596 | 63229 | N/A |  |  |  | N/A
m/z 776.689 | [6 empty] | Composite:
PE-AR
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.41 | m/z 776.689 | 479127 | N/A |  |  |  | N/A
m/z 810.540 | [6 empty] | Composite:
SQDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.35 | m/z 810.540 | 29051684 | N/A |  |  |  | N/A
m/z 874.726 | [6 empty] | Composite:
C21-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 874.726 |  | N/A
m/z 841.595 | [6 empty] | Composite:
PG-DAG-41:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.45 | m/z 841.595 |  | N/A |  |  |  | 0.00
m/z 795.529 | [6 empty] | Composite:
SQDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 795.529 |  | N/A
m/z 806.569 | [6 empty] | Composite:
PC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.49 | m/z 806.569 |  | N/A |  |  |  | 0.00
m/z 824.520 | [6 empty] | Composite:
PC-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 824.520 |  | N/A
m/z 742.619 | [6 empty] | Composite:
DGCC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.54 | m/z 742.619 | 6669127 | N/A |  |  |  | N/A
m/z 878.569 | [6 empty] | Composite:
PC-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.48 | m/z 878.569 | 17039 | N/A |  |  |  | N/A
m/z 822.601 | [6 empty] | Composite:
PC-39:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.47 | m/z 822.601 | 56464 | N/A |  |  |  | N/A
m/z 850.536 | [6 empty] | Composite:
PC-40:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.6 | m/z 850.536 | 83746 | N/A |  |  |  | N/A
m/z 852.554 | [6 empty] | Composite:
PC-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.59 | m/z 852.554 | 131025 | N/A |  |  |  | N/A
m/z 813.482 | [6 empty] | Composite:
SQDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 813.482 |  | N/A
m/z 826.538 | [6 empty] | Composite:
PC-40:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.58 | m/z 826.538 | 262248 | N/A |  |  |  | N/A
m/z 808.585 | [6 empty] | Composite:
PC-38:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 808.585 |  | N/A
m/z 742.536 | [6 empty] | Composite:
PC-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.6 | m/z 742.536 | 21101 | N/A |  |  |  | N/A
m/z 780.554 | [6 empty] | Composite:
PC-36:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 780.554 |  | N/A
m/z 775.621 | [6 empty] | Composite:
PG-DEG-38:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 775.621 |  | N/A
m/z 734.569 | [6 empty] | Composite:
PC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 734.569 | 22413115 | N/A |  |  |  | N/A
m/z 734.569 | [6 empty] | Composite:
C16-PC
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 734.569 | 22413115 | N/A |  |  |  | N/A
m/z 728.603 | [6 empty] | Composite:
DGCC-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.58 | m/z 728.603 | 72902530 | N/A |  |  |  | N/A
m/z 756.493 | [6 empty] | Composite:
SQDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.63 | m/z 756.493 | 67096568 | N/A |  |  |  | N/A
m/z 821.544 | [6 empty] | Composite:
SQDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.64 | m/z 821.544 | 2905 | N/A |  |  |  | N/A
m/z 753.482 | [6 empty] | Composite:
SQDG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.64 | m/z 753.482 |  | N/A |  |  |  | 0.00
m/z 943.560 | [6 empty] | Composite:
SQDG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 943.560 |  | N/A
m/z 686.557 | [6 empty] | Composite:
DGCC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 686.557 | 19098558 | N/A |  |  |  | N/A
m/z 672.541 | [6 empty] | Composite:
DGCC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.73 | m/z 672.541 | 47255509 | N/A |  |  |  | N/A
m/z 678.507 | [6 empty] | Composite:
PC-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.7 | m/z 678.507 |  | N/A |  |  |  | 0.00
m/z 744.554 | [6 empty] | Composite:
PC-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 744.554 |  | N/A
m/z 608.501 | [6 empty] | Composite:
PE-DEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 608.501 |  | N/A
m/z 785.450 | [6 empty] | Composite:
SQDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 785.450 |  | N/A
m/z 851.591 | [6 empty] | Composite:
SQDG-36:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 851.591 |  | N/A |  |  |  | 0.00
m/z 873.576 | [6 empty] | Composite:
SQDG-38:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.75 | m/z 873.576 | 3397 | N/A |  |  |  | N/A
m/z 871.560 | [6 empty] | Composite:
SQDG-38:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.77 | m/z 871.560 | 4810 | N/A |  |  |  | N/A
m/z 917.544 | [6 empty] | Composite:
SQDG-42:11
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 917.544 |  | N/A
m/z 819.529 | [6 empty] | Composite:
SQDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.74 | m/z 819.529 |  | N/A |  |  |  | 0.00
m/z 839.495 | [6 empty] | Composite:
SQDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.8 | m/z 839.495 | 142831 | N/A |  |  |  | N/A
m/z 815.497 | [6 empty] | Composite:
SQDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.67 | m/z 815.497 | 3242 | N/A |  |  |  | N/A
m/z 732.554 | [6 empty] | Composite:
PC-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.66 | m/z 732.554 | 22743480 | N/A |  |  |  | N/A
m/z 706.538 | [6 empty] | Composite:
PC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.78 | m/z 706.538 | 53455008 | N/A |  |  |  | N/A
m/z 746.569 | [6 empty] | Composite:
PC-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 746.569 |  | N/A
m/z 789.479 | [6 empty] | Composite:
SQDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 789.479 |  | N/A
m/z 847.560 | [6 empty] | Composite:
SQDG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.84 | m/z 847.560 |  | N/A |  |  |  | 0.00
m/z 700.572 | [6 empty] | Composite:
DGCC-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 700.572 |  | N/A
m/z 718.538 | [6 empty] | Composite:
PC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 718.538 |  | N/A
m/z 792.554 | [6 empty] | Composite:
PC-37:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 692.522 | [6 empty] | Composite:
PC-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.83 | m/z 692.522 | 30273532 | N/A |  |  |  | N/A
m/z 791.497 | [6 empty] | Composite:
SQDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 791.497 |  | N/A
m/z 805.419 | [6 empty] | Composite:
SQDG-34:9
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 805.419 |  | N/A
m/z 658.525 | [6 empty] | Composite:
DGCC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.8 | m/z 658.525 | 3604067 | N/A |  |  |  | N/A
m/z 788.616 | [6 empty] | Composite:
PC-36:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 788.616 |  | N/A
m/z 644.510 | [6 empty] | Composite:
DGCC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.85 | m/z 644.510 | 2997406 | N/A |  |  |  | N/A
m/z 736.491 | [6 empty] | Composite:
PC-33:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.87 | m/z 736.491 |  | N/A |  |  |  | 0.00
m/z 664.491 | [6 empty] | Composite:
PC-27:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 664.491 | 8775149 | N/A |  |  |  | N/A
m/z 739.502 | [6 empty] | Composite:
PC-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 739.502 | 22426 | N/A |  |  |  | N/A
m/z 712.572 | [6 empty] | Composite:
DGCC-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 712.572 |  | N/A
m/z 744.554 | [6 empty] | Composite:
PE-DAG/AEG-36:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 744.554 |  | N/A
m/z 586.423 | [6 empty] | Composite:
PE-DEG-27:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 586.423 |  | N/A
m/z 762.601 | [6 empty] | Composite:
PC-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 762.601 |  | N/A
m/z 732.554 | [6 empty] | Composite:
PE-DAG/AEG-35:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 732.554 |  | N/A
m/z 786.598 | [6 empty] | Composite:
PC-35:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.97 | m/z 786.598 | 6695 | N/A |  |  |  | N/A
m/z 770.476 | [6 empty] | Composite:
PC-36:10
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.05 | m/z 770.476 | 4632 | N/A |  |  |  | N/A
m/z 676.491 | [6 empty] | Composite:
PE-DAG/AEG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.05 | m/z 676.491 |  | N/A |  |  |  | 0.00
m/z 674.476 | [6 empty] | Composite:
PE-DAG/AEG-31:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 674.476 |  | N/A
m/z 702.507 | [6 empty] | Composite:
PE-DAG/AEG-33:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 702.507 | 526878 | N/A |  |  |  | N/A
m/z 754.538 | [6 empty] | Composite:
PC-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 754.538 |  | N/A
m/z 648.460 | [6 empty] | Composite:
PE-DAG/AEG-29:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 648.460 |  | N/A
m/z 664.491 | [6 empty] | Composite:
PE-DAG/AEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.93 | m/z 664.491 | 8777576 | N/A |  |  |  | N/A
m/z 662.476 | [6 empty] | Composite:
PE-DAG/AEG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 662.476 |  | N/A
m/z 678.507 | [6 empty] | Composite:
PE-DAG/AEG-31:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.05 | m/z 678.507 |  | N/A |  |  |  | 0.00
m/z 690.507 | [6 empty] | Composite:
PE-DAG/AEG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 690.507 | 10037371 | N/A |  |  |  | N/A
m/z 688.491 | [6 empty] | Composite:
PE-DAG/AEG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 688.491 | 1780137 | N/A |  |  |  | N/A
m/z 764.522 | [6 empty] | Composite:
PE-DAG/AEG-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 764.522 |  | N/A
m/z 792.554 | [6 empty] | Composite:
PE-DAG/AEG-40:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 792.554 |  | N/A
m/z 790.538 | [6 empty] | Composite:
PE-DAG/AEG-40:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 790.538 |  | N/A
m/z 836.522 | [6 empty] | Composite:
PE-DAG/AEG-44:12
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.95 | m/z 836.522 | 781 | N/A |  |  |  | N/A
m/z 700.564 | [6 empty] | Composite:
PE-DEG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 700.564 |  | N/A
m/z 716.522 | [6 empty] | Composite:
PE-DAG/AEG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.91 | m/z 716.522 |  | N/A |  |  |  | 0.00
m/z 650.476 | [6 empty] | Composite:
PE-DAG/AEG-29:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 650.476 | 5417818 | N/A |  |  |  | N/A
m/z 706.538 | [6 empty] | Composite:
PE-DAG/AEG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 706.538 |  | N/A
m/z 546.392 | [6 empty] | Composite:
PE-DEG-24:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.392 |  | N/A
m/z 726.507 | [6 empty] | Composite:
PE-DAG/AEG-35:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
10.99 | m/z 726.507 | 116578 | N/A |  |  |  | N/A
m/z 636.460 | [6 empty] | Composite:
PE-DAG/AEG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.01 | m/z 636.460 |  | N/A |  |  |  | 0.00
m/z 730.538 | [6 empty] | Composite:
PE-DAG/AEG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 730.538 |  | N/A
m/z 738.507 | [6 empty] | Composite:
PC-33:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.1 | m/z 738.507 |  | N/A |  |  |  | 0.00
m/z 748.585 | [6 empty] | Composite:
PC-33:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.09 | m/z 748.585 |  | N/A |  |  |  | 0.00
m/z 636.533 | [6 empty] | Composite:
PE-DEG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.13 | m/z 636.533 |  | N/A |  |  |  | 0.00
m/z 765.482 | [6 empty] | Composite:
SQDG-30:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.23 | m/z 765.482 | 1955 | N/A |  |  |  | N/A
m/z 622.423 | [6 empty] | Composite:
PC-DEG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.17 | m/z 622.423 |  | N/A |  |  |  | 0.00
m/z 704.522 | [6 empty] | Composite:
PE-DAG/AEG-33:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 704.522 |  | N/A
m/z 650.476 | [6 empty] | Composite:
PC-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 650.476 |  | N/A
m/z 780.493 | [6 empty] | Composite:
SQDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.45 | m/z 780.493 | 9817613 | N/A |  |  |  | N/A
m/z 1621.389 | [6 empty] | Composite:
2Gly-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1621.389 |  | N/A
m/z 1637.384 | [6 empty] | Composite:
2Gly-OH-GDGT-2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1637.384 |  | N/A
m/z 711.435 | [6 empty] | Composite:
SQDG-26:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 711.435 |  | N/A
m/z 683.403 | [6 empty] | Composite:
SQDG-24:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.67 | m/z 683.403 | 729 | N/A |  |  |  | N/A
m/z 1641.415 | [6 empty] | Composite:
2Gly-OH-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1641.415 |  | N/A
m/z 580.384 | [6 empty] | Composite:
DGCC-22:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.69 | m/z 580.384 |  | N/A |  |  |  | 0.00
m/z 937.588 | [6 empty] | Composite:
DGDG
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.81 | m/z 937.588 | 34040 | N/A |  |  |  | N/A
m/z 844.572 | [6 empty] | Composite:
DGCC-42:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.84 | m/z 844.572 | 1631 | N/A |  |  |  | N/A
m/z 936.662 | [6 empty] | Composite:
DGDG-34:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.76 | m/z 936.662 | 1729980 | N/A |  |  |  | N/A
m/z 612.447 | [6 empty] | Composite:
DGCC-24:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 612.447 |  | N/A
m/z 800.603 | [6 empty] | Composite:
DGCC-38:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 800.603 |  | N/A
m/z 669.388 | [6 empty] | Composite:
SQDG-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 669.388 |  | N/A
m/z 908.631 | [6 empty] | Composite:
DGDG-32:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.91 | m/z 908.631 |  | N/A |  |  |  | 0.00
m/z 772.572 | [6 empty] | Composite:
DGCC-36:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 772.572 |  | N/A
m/z 926.584 | [6 empty] | Composite:
DGDG-34:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.9 | m/z 926.584 | 73833 | N/A |  |  |  | N/A
m/z 907.541 | [6 empty] | Composite:
DGDG-34:7
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.95 | m/z 907.541 | 95455 | N/A |  |  |  | N/A
m/z 910.646 | [6 empty] | Composite:
DGDG-32:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.91 | m/z 910.646 |  | N/A |  |  |  | 0.00
m/z 917.620 | [6 empty] | Composite:
DGDG-34:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.97 | m/z 917.620 | 1559 | N/A |  |  |  | N/A
m/z 913.588 | [6 empty] | Composite:
DGDG-34:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.91 | m/z 913.588 | 461659 | N/A |  |  |  | N/A
m/z 929.620 | [6 empty] | Composite:
DGDG-35:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 929.620 |  | N/A
m/z 931.635 | [6 empty] | Composite:
DGDG-35:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 931.635 |  | N/A
m/z 915.604 | [6 empty] | Composite:
DGDG-34:3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
11.91 | m/z 915.604 | 257562 | N/A |  |  |  | N/A
m/z 600.447 | [6 empty] | Composite:
DGCC-23:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 600.447 |  | N/A
m/z 1625.420 | [6 empty] | Composite:
2Gly-GDGT-0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1625.420 |  | N/A
m/z 1659.368 | [6 empty] | Composite:
Gly-Hp-BDGT-5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1659.368 |  | N/A
m/z 1639.400 | [6 empty] | Composite:
2Gly-OH-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1639.400 |  | N/A
m/z 882.615 | [6 empty] | Composite:
DGDG-30:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.03 | m/z 882.615 | 24460404 | N/A |  |  |  | N/A
m/z 911.573 | [6 empty] | Composite:
DGDG-34:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 911.573 |  | N/A
m/z 1663.400 | [6 empty] | Composite:
Gly-Hp-BDGT-3
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1663.400 |  | N/A
m/z 1623.405 | [6 empty] | Composite:
2Gly-GDGT-1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1623.405 |  | N/A
m/z 1645.389 | [6 empty] | Composite:
2Gly-PDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1645.389 |  | N/A
m/z 883.539 | [6 empty] | Composite:
DGDG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 883.539 |  | N/A
m/z 1661.384 | [6 empty] | Composite:
Gly-Hp-BDGT-4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 1661.384 |  | N/A
m/z 883.541 | [6 empty] | Composite:
DGDG-32:5
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 883.541 |  | N/A
m/z 898.552 | [6 empty] | Composite:
DGDG-32:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.18 | m/z 898.552 | 50573 | N/A |  |  |  | N/A
m/z 885.557 | [6 empty] | Composite:
DGDG-32:4
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 885.557 |  | N/A
m/z 889.588 | [6 empty] | Composite:
DGDG-32:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.26 | m/z 889.588 | 2216 | N/A |  |  |  | N/A
m/z 524.371 | [6 empty] | Composite:
IS-PC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 524.371 | 142961594 | N/A |  |  |  | N/A
m/z 837.557 | [6 empty] | Composite:
DGDG-28:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.22 | m/z 837.557 | 2539 | N/A |  |  |  | N/A
m/z 524.371 | [6 empty] | Composite:
C16PAF
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.31 | m/z 524.371 | 142961594 | N/A |  |  |  | N/A
m/z 705.591 | [6 empty] | Composite:
PC-DEG-30:2
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.34 | m/z 705.591 | 562334 | N/A |  |  |  | N/A
m/z 877.588 | [6 empty] | Composite:
DGDG-31:1
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 877.588 |  | N/A
m/z 602.463 | [6 empty] | Composite:
DGCC-23:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 602.463 |  | N/A
m/z 574.431 | [6 empty] | Composite:
DGCC-21:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.72 | m/z 574.431 |  | N/A |  |  |  | 0.00
m/z 546.400 | [6 empty] | Composite:
DGCC-19:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
Compound Not Found
0 | m/z 546.400 |  | N/A
m/z 518.369 | [6 empty] | Composite:
DGCC-17:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
13.04 | m/z 518.369 |  | N/A |  |  |  | 0.00
m/z 504.353 | [6 empty] | Composite:
DGCC-16:0
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
12.99 | m/z 504.353 | 226 | N/A |  |  |  | N/A
m/z 590.369 | [6 empty] | Composite:
DGCC-23:6
RT (min) | Ion | Response | Amount |  | Target Range |  | Ratio
N/A
16.96 | m/z 590.369 | 2973 | N/A |  |  |  | N/A